## SDP 3-Bedroom
SDP 3-Bedroom House
19/03/2026
STOCK CODE | MATERIALS DESCRIPTION | QTY | UNIT
50106 - WPC DECKING, SKIRTING & ARCHITRAVE
50106-WPD-001 | WPC Architrave ¦ 12 x 75 x 2400mm WPC - Door |  | len
50106-WPD-001 | WPC Architrave ¦ 12 x 75 x 2400mm WPC - Window |  | len
50106-WPD-002 | WPC Decking ¦ 25 x 140 x 3000mm WPC |  | len
50106-WPD-004 | WPC Decking Perimeter ¦ 60 x 60 x 3000mm WPC |  | len
50106-WPA-001 | Starter Clips ¦ Stainless Steel Starter Clip for WPD-001 |  | each
50106-WPA-002 | Decking Clips ¦ Stainless Steel Clip for WPD-001 |  | each
50106-WPD-001 | WPC Skirting ¦ 12 x 75 x 2400mm WPC |  | len
50106-WPD-003 | WPC Cornice ¦ 35 x 35 x 2400mm WPC |  | len
50111-SCC-010 | Fixing ¦ 6G-18x25 BH, DP self drilling screw |  | len
50111-SCC-013 | Fixing ¦ 8G - 10 x 50 Countersunk DP self drilling screw |  | each
INSECT SCREEN/SHADE CLOTH
| Main Frame ¦ 50x50mm Timber - 4,000mm length |  | len
| Cover Stip Frame ¦ 38x12mm Timber - 4,000mm length |  | len
| Shade Cloth ¦ 3.66m x 30m Heavy Duty Shade Cloth - Graphite/Black |  | roll
| Fixing ¦ 10G - 10 x 75 Countersunk SP |  | each
| Fixing ¦ 8G - 10 x 25 Countersunk SP |  | each
50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
50107-FRA-001 | Framecad Wall ¦ LGS C89, 0.755BMT, G550, Z275, meter rate |  | lm
50107-FRA-002 | Framecad Roof Truss ¦ LGS C89, 0.75BMT, G550, Z275, meter rate |  | lm
50107-FRA-003 | Framecad Roof Panel ¦ LGS C89, 0.95BMT, G550, Z275, meter rate |  | lm
| FPA - 1.8Kpa - 3000 (B1) X 2400mm(J1) - Floor Panel |  | Panels
| B1 - 150x65x3mm PFC @ 3000mm |  | Lts
| J1 - C150 Purlins @ 2400mm |  | Lts
| FPB - 1.8Kpa - 3000 (B1) X 945mm(J1) - Floor Panel |  | Panels
| B1 - 150x65x3mm PFC @ 3000mm |  | Lts
| J1 - C150 Purlins @ 945mm |  | Lts
| FPC - 1.8Kpa - 1500 (B1) X 945mm(J1) - Floor Panel |  | Panels
| B1 - 150x65x3mm PFC @ 1500mm |  | Lts
| J1 - C150 Purlins @ 945mm |  | Lts
| FPD - 4.0Kpa - 1500 (B1) X 2400mm(J1) - Floor Panel |  | Panels
| B1 - 150x65x3mm PFC @ 1500mm |  | Lts
| J2 - C150 Purlins @ 2400mm |  | Lts
| FPE - 4.0Kpa - 2925 (B1) X 2400mm(J2) - Floor Panel |  | Panels
| B1 - 150x65x3mm PFC @ 2925mm |  | Lts
| J2 - C150 Purlins @ 2400mm |  | Lts
| FPF - 4.0Kpa - 1537 (B1) X 2400mm(J2) - Floor Panel |  | Panels
| B1 - 150x65x3mm PFC @ 1537mm |  | Lts
| J2 - C150 Purlins @ 2400mm |  | Lts
| B2¦ 75x4mm SHS @ 5.8m - Verandah Floor Beam |  | Lts
| FJ1¦ C150 Purlins @ 3455mm |  | Lts
| Floor Joist Cleats ¦ 140x75mm, 6mm thk |  | each
| M12x40 HEX Head with Nut & Washer |  | each
| C1 Post ¦ 75 x 4mm SHS, Q345, HDG600, 5.8m |  | len
| C2 Post ¦ 75 x 4mm SHS, Q345, HDG600, 5.8m |  | len
| PHA ¦ Pier Head - Corner |  | each
| PHB ¦ Pier Head - Center |  | each
| PHD ¦ Pier Head - Perimeter |  | each
| Fixing ¦ M10x25 HEX Bolt & Nut with Spring Washer |  | set
| VA1 ¦ HDG Support Angle 75 x 75 x 3mm - Roof Beam |  | each
| VA2 ¦ HDG Support Angle 75 x 75 x 6mm - Floor Beam |  | each
| RB1 ¦ 75x75x4mm SHS Beam, 5.8m |  | len
| RB2 ¦ 125x75x4mm RHS Beam, 5.8m |  | len
50107-ANC-004 | Verandah Roof to Wall Tie Down ¦ Continuous 40 x 40mm Angle. 0.95BMT, G550, Z275 |  | m
50107-STR-001 | Roof Bracing ¦ 0.95 x 32mm Strap Brace 30 metre |  | lm
50107-STR-002 | Roof Bracing ¦ Bracing Tensioners |  | each
50107-BAT-002 | Roof Batten ¦ 41mm Top Hat, G550, Z275 5800mm |  | len
50107-BAT-002 | Verandah Ceiling & Soffit Batten ¦ 41mm Top Hat, G550, Z275 5800mm |  | len
50107-BAT-001 | Ceiling Batten ¦ 20mm Top Hat, G350, Z275 5800mm |  | len
50107-ANC-007 | Triple Grip - Right ¦ Pryda Multi Grip 100 x 35 x 35 |  | each
50107-ANC-008 | Triple Grip - Left ¦ Pryda Multi Grip 100 x 35 x 35 |  | each
50107-GRO-001 | Accessories ¦ Grommet 35mm Diam. |  | each
50107-ANC-017 | Accessories ¦ Fix Plate Connector G350t, Z275, 0.95BMT |  | each
50107-ANC-019 | Accessories ¦ Hold Down and Fix Washer G350t, Z275, 1.15BMT |  | each
50111-SCC-002 | Fixing ¦ 12G - 14 x 20mm, HEX Head, DP |  | each
50111-HEX-001 | Fixing ¦ 12G - 24 x 45mm, HEX Head, DP |  | each
50111-SCC-004 | Fixing ¦ 12G - 24 x 38mm, HEX Head, DP |  | each
50111-SCC-005 | Fixing ¦ 10G - 18 x 19mm Flat Head, DP self drilling screw |  | each
50111-SCC-007 | Fixing ¦ 10G - 16 x 16mm Wafer Head, DP self drilling screw |  | each
50111-BOL-007 | Fixing ¦ M12 x 75mm Sleeve Anchors, HEX Head, Galvanised |  | each
50112 - ROOF & ROOF PLUMBING
50112-RCL-001 | Roof Cladding ¦ Custom Orb 4400mm, 0.42mm BMT, 762mm |  | len
| Roof Cladding ¦ Custom Orb 3700mm, 0.42mm BMT, 762mm |  | len
| Roof Cladding ¦ Custom Orb 4100mm, 0.42mm BMT, 762mm |  | len
| Roof Cladding ¦ Custom Orb 4000mm, 0.42mm BMT, 762mm |  | len
50112-RCL-003 | Ridge Cap ¦ Ridge Cap, 5800mm |  | len
50112-RCL-002 | Barge Cap ¦ Barge Capping, 5800mm |  | len
50112-FSH-001 | Apron Flashing ¦ Apron Flashing, 5800mm |  | len
50112-RCL-004 | Fascia ¦ 0.6BMT Novaline Fascia, 5800mm |  | len
50112-RCL-016 | Novaline Fascia Clips |  | each
50112-PVG-001 | SL-01 ¦ PVC Rain Gutter & Downspout, 5800mm |  | len
50112-PVG-002 | SL-02 ¦ PVC Endcap L/H |  | each
50112-PVG-003 | SL-02 ¦ PVC Endcap R/H |  | each
50112-PVG-004 | SL-03 ¦ PVC Gutter Joiner |  | each
50112-PVG-005 | SL-08 ¦ PVC Drop Outlet |  | each
50112-PVG-006 | SL-09 ¦ PVC Downspout |  | each
50112-PVG-007 | SL-10 ¦ PVC Downspout Connector |  | each
50112-PVG-008 | SL-12A ¦ PVC 65degree Elbow |  | each
50112-PVG-009 | SL-12B ¦ PVC 90degree Elbow |  | each
50112-PVG-010 | SL-13 ¦ PVC Downspout "U" Clip |  | each
50112-PVG-011 | SL-14 ¦ PVC Gutter "A" Hanger |  | each
50112-PVG-012 | SL-14 ¦ PVC Gutter "U" Hanger |  | each
50112-PVG-013 | SL-22 ¦ Special Glue |  | each
50112-RAC-001 | Bird Proofing Foam ¦ Bird Proofing Foam |  | lm
50111-SCC-001 | Fixing ¦ 12G - 14 x 50mm HEX Head with C4 Rubber Washer |  | each
50111-SCC-002 | Fixing ¦ 12G - 14 x 20mm HEX Head, DP |  | each
50111-SCC-011 | Fixing ¦ Blind Rivets Aluminum, 1/8" x 3/8" |  | each
50113 - EXTERNAL CLADDING
50113-WBC-001 | External Cladding ¦ Weather Board 7.5mm FC 230 x 4200mm |  | len
50106-WPD-003 | Quad Cornice ¦ 35 x 35 x 2400mm Timber |  | len
50115-HMJ-002 | 7.5mm x 230mm PVC External H Joiner |  | len
50115-WCC-001 | Aluminum Weatherboard Corner Flashing, 230mm |  | len
50113-WBC-002 | Fixing ¦ Stud Clips |  | each
50111-SCC-017 | Fixing ¦ 12G - 14 x 20mm Countersunk, DP self drilling screw |  | each
50111-SCC-006 | Fixing ¦ 10G - 16 x 25mm HEX Head, DP, Neo C3 Washer Rubber |  | each
50114 - DOORS, WINDOWS & GLAZINGS
| Door A ¦ 2046 x 1640mm, Glass Double Swing Door with Aluminium Frame and complete accessories |  | set
50114-DSC-003 | Door B ¦ 2040 x 920 x 35mm, SOLID CORE |  | each
50114-DHC-003 | Door C ¦ 2040 x 820 x 35mm, SOLID CORE |  | each
50114-DHC-007 | Door C ¦ 2040 x 820 x 35mm, HOLLOW CORE |  | each
| Door D¦ 2040 x 720 x 35mm, HOLLOW CORE |  | each
50114-DJA-003 | Door Frame ¦ Aluminum Door Frames 935 x 2072mm |  | each
50114-DJA-006 | Door Frame ¦ Aluminum Door Frames 835 x 2072mm |  | each
50114-DJA-007 | Door Frame ¦ Aluminium Door Frames 735 x 2072mm |  | each
50114-HIN-001 | Hinges ¦ Hinge; Fixed Pin 100 x 75 x 2.5mm |  | each
50114-DST-003 | Door Stop ¦ Rubber Door Stopper (A-290 Half Moon) |  | each
50114-PRS-001 | Door Lock ¦ Door Privacy Set |  | each
50114-ENS-001 | Door Lock ¦ Door Entrance Set |  | each
50114-PAS-003 | Door Lock ¦ Single Cylinder Interlocking Deadbolt |  | each
| Aluminium Window A¦ 1200 x 1850mm complete with louver frames, blades & security bars w/ Fly Screen |  | each
| Aluminium Window B¦ 630 x 1980mm complete with louver frames, blades & security bars w/ Fly Screen |  | each
| Aluminium Window C¦ 1200 x 1080mm complete with louver frames, blades & security bars w/ Fly Screen |  | each
| Aluminium Window D¦ 620 x 800mm complete with louver frames, blades & security bars w/ Fly Screen |  | each
50114-WLV-004 | Flashing ¦ Window Head Flashing, 1200mm |  | len
50114-WLV-005 | Flashing ¦ Window Head Flashing, 630mm |  | len
50114-WLV-006 | Flashing ¦ Window Head Flashing, 620mm |  | len
50111-SCC-008 | Fixing ¦ 10G - 24 x 40mm Countersunk, DP self drilling screws |  | each
50115 - INTERNAL LININGS & FINISHES
50115-FCS-001 | FC Sheet Wall ¦ 6mm thk, 1200 x 2700 Sheet, AS2908.2 |  | each
50115-FCS-002 | FC Sheet Ceiling ¦ 6mm thk, 1200 x 2400 Sheet, AS2908.2 |  | each
50115-FCS-004 | FC Sheet Floor ¦ 18mm thk, 1200 x 2400 Sheet |  | each
50111-ADH-001 | Wall Stud Adhesive (4 lit) |  | each
50115-FLR-001 | Vinyl Floor Plank ¦ 2mm thk, 150x1220mm Vinyl Plank |  | m2
50115-FLR-004 | Ceramic Tiles ¦ 600mm x 600mm Ceramic Non-Slip Floor Tiles - Toilet & Bath |  | m2
50115-FLR-004 | Ceramic Tiles ¦ 600mm x 600mm Ceramic Non-Slip Floor Tiles - Laundry & Storage |  | m2
50115-FLR-014 | Ceramic Tiles ¦ 150 x150 Ceramic Wall Tiles (white) - Shower |  | m2
50115-FLR-014 | Ceramic Tiles ¦ 150 x150 Ceramic Wall Tiles (white) - Splashback & Tile Skirting |  | m2
50115-HMJ-003 | Internal lining Accessory ¦ PVC H Joiner 6mm, 2400mm |  | len
50115-HMJ-004 | Internal lining Accessory ¦ PVC H Joiner 6mm, 2700mm |  | len
50115-HMJ-006 | 6.0mm x 2700mm PVC Internal Capping, corner |  | len
50115-HMJ-007 | 6.0mm x 2700mm PVC External Capping, corner |  | len
50115-FLR-010 | Floor aluminum angle trim, 930mm |  | each
50115-FLR-011 | Floor aluminum angle trim, 1660mm |  | each
50111-SCC-010 | Fixing ¦ 6G-18x25 BH, DP self drilling screw |  | each
50111-SCC-008 | Fixing ¦ 10G - 24 x 40mm Countersunk, DP self drilling screw |  | each
50110-ADH-002 | Flexible Tile Adhesive- 20 Kg |  | each
50111-ADH-005 | Vinyl Plank Adhesive - 15 litres |  | each
50117 - HYDRAULICS
| PEX Straight Coupling Inline 16mm x 16mm |  | each
| PEX Straight Coupling Inline 20mm x 20mm |  | each
| PEX Straight Coupling Inline 25mm x 25mm |  | each
| PEX Reducing Coupling 25 x 16mm |  | each
| PEX Reducing Coupling 20 x 25mm |  | each
| PEX Straight Connector Male Thread Fixed Adaptor 16 x 1/2" MI |  | each
| PEX Straight Connector Male Thread Fixed Adaptor 20 x 3/4" MI |  | each
| PEX Straight Connector Male Thread Fixed Adaptor 25 x 1" MI |  | each
| Equal PEX Elbow 15 x 15mm |  | each
| Equal PEX Elbow 20 x 20mm |  | each
| Equal PEX Elbow 25 x 25mm |  | each
| PEX Winged Back Elbow Male Thread Ext 65mm 15 x 1/2" x 65mm MI |  | each
| PEX T-Piece Reduced Centre 25 x 16 x 25mm |  | each
| PEX T-Piece Reduced Center 25 x 20 x 25mm |  | each
| PEX Tee 16mm |  | each
| PEX Stopper Pipe End Plug 16mm |  | each
| PEX Stopper Pipe End Plug 20mm |  | each
| PEX Stopper Pipe End Plug 25mm |  | each
| Laundry Assembly 8" Right Angle |  | each
| Shower Assembly 8" Right Angle |  | each
| Cistern Cock 16mm |  | each
| Wall Plate 16mm |  | each
| Brass Gate Valve F/F 1/2" FI |  | each
| Brass Gate Valve F/F 1" FI |  | each
| Brass Gate Valve F/F 3/4" FI |  | each
| Brass Threaded Nipple Male 1" MI |  | each
| Brass Threaded Nipple Male 1/2" MI |  | each
| Brass Threaded Nipple Male 3/4" MI |  | each
| Brass Swing Check Valve 1/2" |  | each
| Brass Swing Check Valve 1" |  | each
| Brass Swing Check Valve 3/4" |  | each
| PEX Pipe 16mm |  | m
| PEX Pipe 20mm |  | m
| PEX Pipe 25mm |  | m
| Saddle Clip 25mm |  | each
| Saddle Clip 20mm |  | each
| Sadde Clip 16mm |  | each
| SS Floor Grate 100mm |  | each
| Flexible Hose 1/2"F x 1/2"F x 400mm |  | each
| PVC Pipe 100mm x 5800mm |  | len
| PVC Pipe 65mm x 5800mm |  | len
| PVC Pipe 50mm x 5800mm |  | len
| PVC Pipe 40mm x 5800mm |  | len
| PVC Straigth Coupling 100mm |  | each
| PVC Straigth Coupling 50mm |  | each
| PVC Reducing Coupling 65x50mm |  | each
| PVC Sweep Junction 100mm x 88degree |  | each
| PVC Sweep Junction 100mm x 45degree |  | each
| PVC Plain Bend 100mm x 88degree |  | each
| PVC Cross Tee 100mmx45Deg |  | each
| PVC Plain Bend 65mm x 88degree |  | each
| PVC Plain Bend 50mm x 88degree |  | each
| PVC Plain Bend 40mm x 88degree |  | each
| PVC Tee 65mm |  | each
| PVC Tee 50mm |  | each
| PVC Plain Bend 50mm x 45degree |  | each
| Inspection Opening 100mm |  | each
| PVC Gully Trap 100mm x 100mm |  | each
| PVC Double Bowl Sink Connector 50mm |  | each
| PVC Floor Waste Gully 100mm x 65mm |  | each
| S&P Trap Combination 50mm |  | each
| S&P Trap Combination 40mm |  | each
| Four Way Riser 100 x 50 x 50 x 50 x 40mm |  | each
| Dome Grate with Collar 100mm |  | each
| PVC Pan Collar 100mm |  | each
| PVC Floor Grate 65mm |  | each
| Saddle Clip 100mm |  | each
| Saddle Clip 65mm |  | each
| Dektite Rubber Seal 65mm |  | each
| PVC Glue 500ml |  | each
| PVC Priming Fluid 500ml |  | each
| Hanging Clip 100mm |  | each
| Hanging Clip 65mm |  | each
| Hanging Clip 50mm |  | each
| Hanging Clip 40mm |  | each
| Crimper |  | each
50118 - INSULATION
50118-BLW-002 | Multi purpose Sisalation to AS4200.1,1.35x60m roll - Wall |  | roll
50118-BLW-002 | Multi purpose Sisalation to AS4200.1,1.35x60m roll - Roof |  | roll
50107-WMR-001 | Mesh Chicken Wire - 50x1x1.8x50 |  | roll
50118-BLW-005 | Sisalation Tape - 50m |  | each
50118-MAL-001 | Malthoid damp proof membrane 90mmx20m |  | each
50111-SCC-019 | Fixing ¦ 10g-14 x 16mm, WAFER, SQUARE, Self-Tapping AS3566 Class 3 |  | each
50119 - ELECTRICAL SERVICES - CABLES & CONDUITS (c/o ANTHONY) TBC
| 18W LED Oyster Type/Round Light Fitting, 6500K White |  | pcs
| 12W LED Oyster Type/Round Light Fitting, 6500K White |  | pcs
| 12W LED Oyster Type/Round Light Fitting, Weatherproof, 6500K White |  | pcs
| 10W Floodlight |  | pcs
| 1200mm dia. Ceiling fans with regulator & fixings/fanhooks |  | sets
| Wall Mount Exhaust Fan, 150mm diam. |  | pcs
| Daylight switch, 10A |  | pc
| Double GPO, 10A |  | pcs
| Single GPO, 10A |  | pcs
| Light switch 1-gang |  | pcs
| Light switch 3-gang |  | pc
| Load Centre 18Pole, PVC, surface mount |  | pc
| MCB, 63A, 1P |  | pc
| RCBO, 10A, 30mA, 1P, load centre type, compact/slim |  | pcs
| RCBO, 16A, 30mA, 1P, load centre type, compact/slim |  | pcs
| 16mm2 2C + E PVC/PVC TPS Flat Cable |  | meters
| 6mm2 Building Wire Green/Yellow |  | meters
| 2.5mm2 2C + E pvc/pvc TPS |  | meters
| 1.5mm2 2C + E pvc/pvc TPS |  | meters
| 1.5mm2 Twin Active/Switch Cable, pvc/pvc, TPS |  | meters
| 1.5mm2 Twin Active + E /Fan Cable, pvc/pvc, TPS |  | meters
| Conduit 25mmdia x 4meters, LD, grey |  | length
| Conduit 20mmdia x 4meters, LD, grey |  | length
| Inspection Elbow 25mmdia, grey |  | pcs
| Inspection Elbow 20mmdia, grey |  | pcs
| Inspection Tee 25mmdia., grey |  | pcs
| PVC adaptor with lockring 25mmdia |  | pcs
| PVC adaptor with lockring 20mmdia |  | pc
| Saddles, pvc, 25mm |  | pcs
| Saddles, pvc, 20mm |  | pcs
| Galvanized Meter Box 300 x 300 x 250mm |  | pc
| Mains Entry Box, 1-phase, 16mm2 max. |  | pc
| Adaptable Box 75 x 75 x 50mm |  | pc
| Earth Stake with earth clamp, 13mm dia. |  | set
| Coach Screw, 10mmdia x 60mm for mounting ceiling fans |  | pcs
| Single Screw Connectors |  | pcs
| 6mm2 cable lug x 5mm hole |  | rolls
| Insulation Tape, (Red) |  | rolls
| Insulation Tape, (Black) |  | roll
| Insulation Tape, (Yellow/Green) |  | roll
| Wall Brackets, Full, Metal |  | each
| Self Drilling, Tapping Metal Screws, Wafer Head 8G x 40mm |  | each
| Self Drilling, Tapping Metal Screws, Wafer Head 8G x 16mm |  | pcs
| Framecad grommet, green |  | pcs
| Smoke Detector Mains Powered (240Vac) with 9Vdc back-up |  | pcs
50124 - STAIRS, RAMPS, & BALUSTRADES
50107-GAP-002 | 40mm OD Galvanised Pipe x 5800mm |  | len
50124-BAL-001 | No Slope Balustrade Panel 695 x 4000mm, 12mm Round Bars |  | each
50124-BAL-002 | 37 Degree Slope Balustrade Panel 503 x 4000mm, 12mm Round Bars |  | each
50124-CLA-004 | Base Flange Type C, Part No. 131 |  | each
50124-CLA-005 | Railing Base Flange Type C, Part No. 132 |  | each
| Railing Side Support Type C, Part 145 |  | each
50124-CLA-018 | Double Sided Fixing Bracket Type C, Part No. 198 |  | each
50124-CLA-002 | Two Socket Cross Type C, Part No. 119 |  | each
50124-CLA-001 | Reducing Short Tee Type C, Part No. 101 |  | each
50124-CLA-023 | Variable Elbow Type , Part No. DDA-5 |  | each
50124-CLA-019 | 40 Diameter x 90 Degree Elbow, Part No. DDA-1 |  | each
50124-CLA-025 | Adjustable Tee 30-60 Degree Type C, Part No. 129 |  | each
50124-CLA-016 | Single Swivel Type C, Part No. 173 |  | each
50124-CLA-022 | Single Male Swivel Handrail Saddle, Type C, Part No. DDA-4 |  | each
50124-CLA-014 | Single Sided Mesh Panel Type C, Part No. 170 |  | each
| Single Mesh Panel Clip, Part No. 170 |  | each
50124-CLA-009 | Internal Joint Type C, Part No. 150 |  | each
50124-CLA-006 | Plastic End Cap Type C 133 |  | each
| Stair Bracket BR2, Type 2L - Top |  | each
| Stair Bracket BR2, Type 2R - Top |  | each
| Stair Stringer STR ¦ 125 x 5mm C-Section Steel x 4,200mm (14 steps) |  | len
| Step Thread Brackets Type 4B |  | each
50111-DYN-012 | M12 x 75mm Galvanised Dyna Bolts |  | each
50111-BOL-005 | M12 x 40mm Hex Head Galv. Bolts with Nuts & Washers |  | each
50111-BOL-002 | Fixing ¦ M8 x 60 Cup Head Bolt and Nut Grade 4.6 GALV. |  | each
50111-BOL-003 | Fixing ¦ M8 x 19 X 1.6mm (1/4") Flat Washer GALV. |  | each
50106-STT-003 | Step Treads ¦ Hardwood 125mm x 50mm, 1200mm |  | each
50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
50129-WCP-005 | FFE ¦ Toilet Suite P-Trap - Water Closet Toilet Pan, complete with cistern, toilet seat, & connectors. |  | each
50129-PAP-001 | FFE ¦ Toilet Roll Holder, Chrome Finish 185 x 95.5mm |  | each
50129-MIR-005 | FFE ¦ Bathroom Mirror, Everton Polished, Flat Edge Mirror, 600 x 900mm |  | each
50129-VAN-001 | FFE ¦ Vanity Basin with one tapholes and 650mm cabinet stand |  | each
50129-TSV-002 | FFE ¦ Hand Basin Taps |  | each
50129-SOA-001 | FFE ¦ Soap holder |  | each
50129-TSK-001 | FFE ¦ Kitchen Tap |  | each
50129-KSS-002 | FFE ¦ Kitchen Sink, 1000 x 500 x 200mm w/ plug & Waste |  | each
50129-SHW-002 | FFE ¦ Shower Tray 1200 x 900 w/ drain plug |  | each
50129-SHC-002 | FFE ¦ Shower Curtain Rail |  | each
50129-TSS-002 | FFE ¦ Shower Tap & Rose Set hot & cold |  | each
50129-RAI-001 | FFE ¦ Towel Rail |  | each
50129-KSS-007 | FFE ¦ Laundry Sink-w/ plug & Waste |  | each
50129-TSL-001 | FFE ¦ Laundry tap mixer |  | each
50129-TSL-002 | FFE ¦Washing Machine Tap |  | each
FFE ¦ Kitchen and Cupboards ¦ Kitchen Cabinets & Drawers
50129-JOI-011 | 1-Door Base Unit ¦ 560mm Wx 561mmD x 720mmH |  | each
50129-JOI-012 | 2-Door Base Unit ¦ 900mm Wx 561mmD x 720mmH |  | each
50129-JOI-013 | 4-Drawer Base Unit ¦ 450mm Wx 561mmD x 720mmH |  | each
50129-JOI-014 | Wall Cabinet ¦ 450mm Wx 299mmD x 720mmH |  | each
50129-JOI-005 | Rangehood Wall Cabinet ¦ 600mmW x 299mmD x 460mmH |  | each
50129-BEN-001 | Bamboo Bench Top ¦ 2270mm Wx 620mmD x 25mm thk |  | each
50129-BEN-001 | Bamboo Bench Top ¦ 1820mm Wx 620mmD x 25mm thk |  | each
BROWN & WHITE GOODS
| Double Bed Frame |  | each
| Double Mattress |  | each
| Double Mattress Cover |  | each
| Pillow |  | each
| Pillow Case |  | each
| Blanket |  | each
| Bedside Table |  | each
| Task Chair |  | each
| Closet/Wardrobe |  | each
| Electric Stove |  | each
| Range Hood |  | each
| 2-Door Fridge 86L |  | each
| Washing Machine 7kg Top Loader |  | each
| Rice Coocker |  | each
| Electric Kettle |  | each
| Dining Utensils Set |  | set
| Cooking Utensils Set |  | set
| Lounge Chair - 3 Seater and 3 Seats |  | set
| Dining Room Table & 6-Chairs |  | set
PAINT MATERIALS
PRIMER PAINT - 1x COAT
| Wall Sealer 100 White, 18L - Internal Wall/Ceiling Use - KCC Brand |  | bucket
| Wall Sealer 500 White, 18L - External Wall/Ceiling Use - KCC Brand |  | bucket
| Aqua Prime(Metal), 5L - Cornice/Doors/Skirtings/Architraves/Metal surfaces use - KCC Brand |  | bucket
TOPCOAT PAINT - COLOR TBC (2x COATS)
50116-KKC-I21 | VinylGlow, 15L - Internal Wall, Cornices Use - KCC Brand |  | bucket
50116-KKC-I01 | Aurora Matt, 15L - Internal Ceiling, Cornices Use - KCC Brand |  | bucket
TOPCOAT PAINT - COLOR TBC (2x COATS)
50116-KKC-E01 | Weatherforce, 18L - (Color TBC) - External Wall & Ceiling Use - KCC Brand |  | bucket
| Koramel H2O, 5L - (Color TBC) - Doors,Skirting,Architraves,Eaves,Wood use - KCC Brand |  | bucket
50116-KKC-E01 | Koramel H2O, 5L - (Ash Grey) - Metal surfaces use - KCC Brand |  | bucket
CONCRETE WORKS
50107-DBA-002 | N12 bars x 5.8m |  | len
| R10 bars x 5.8m |  | len
50104-RFM-002 | F72 Mesh - 5.8m x 2.2m |  | sheet
| Builders Mix |  | cu.m
| Cement |  | bags
CONSUMABLES
50115-GLC-006 | Gyprock Base Coat-45 |  | bag
50136-GAP-002 | No more Gaps |  | tube
50139-SIK-002 | Polyurethane Sealant Sika Flex |  | tube
50115-FLR-016 | PVC Tile Trims Straight Edge |  | len
50115-FLR-017 | PVC Tile Trims Corners |  | len
50125-WPM-001 | Waterproofing Membrane 15L |  | bucket
50139-SEA-001 | Roof and Gutter Silicon |  | tube
50136-GRO-002 | Tile Grout 20kg (Grey) |  | bag
50136-GRO-001 | Tile Grout 10kg (White) |  | bag
50136-ACC-001 | Tile Spacer 2mm |  | packet
50136-ACC-002 | Tile Spacer 4mm |  | packet
50139-TOL-001 | Welding Rod 2.0mm |  | kg
| Cutting Disc 125mm |  | each
| Grinding Disc 125mm |  | each
| Screw Bit |  | each
| Socket Bit 8mm |  | each
| Liquid Nail |  | tube
| Paint Thinner 5L |  | gal
| Paint Brush 4" |  | each
| Paint Brush 2" |  | each
| Paint Roller 230mm - Handle |  | each
| Paint Roller 100mm - Handle |  | each
| Paint Roller 230mm - Refill |  | each
| Paint Roller 100mm - Refill |  | each
| Sanding Paper 120 |  | each
| Sanding Paper 100 |  | each
| Sanding Paper 80 |  | each