## Rate Library
2026 RPNG G-RANGE HOUSE — RATE LIBRARY
Supply-only rates (PGK) ¦ Source: 2026 RPNG G-Range House Pricing Rev1 16/02/2026 ¦ Total items: 322 ¦ Date extracted: 2026-03-19
Use this library for BOQ pricing. Search by Description (keyword) or Stock Code. Rates are supply-only — excludes labour, markup and GST.
# | Stock Code | Description | Unit | Rate (PGK) | Category | Source Sheet
50106 - TIMBER & WPC
1 |  | Cornice ¦ 25 x 25 x 2400mm Timber Cornice | len | 14.7 | 50106 - TIMBER & WPC | FKHSwL-Timber
2 |  | Door Architrave ¦ 12 x 75 x 2400mm Timber Plain | len | 18.9 | 50106 - TIMBER & WPC | FKHSwL-Timber
3 |  | Fixing, 8G - 10 x 50mm Countersunk Head, Zinc Plated, Self Drilling Screw | each | 0.07 | 50106 - TIMBER & WPC | FKHSwL-Timber
4 |  | Timber Decking ¦ 25 x 140 x 3000mm Timber | len | 73.5 | 50106 - TIMBER & WPC | FKHSwL-Timber
50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
5 |  | 2265mm Floor Joists | len | 51.76 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
6 |  | Angle Brace, 40mm x 40mm x 3mm, 3.5 metres | len | 70.43 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
7 |  | Ceiling Batten, 20mm, G550, AZ150, 5800mm | len | 18 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
8 |  | Continuous 40 x 40mm Angle. 0.95BMT, G550, Z275 | m | 7.35 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
9 |  | Fix Plate Connector | each | 4.21 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
10 |  | Fixing, 10G - 16 x 16mm Wafer Head, Class 3, Self Drilling Screw | each | 0.14 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
11 |  | Fixing, 10G - 18 x 19mm Flat Head, Class 3, Self Drilling Screw | each | 0.03 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
12 |  | Fixing, 12G - 14 x 20mm HEX Head, Self Drilling Screw | each | 0.07 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
13 |  | Fixing, 12G - 24 x 38mm HEX Head, Self Drilling Screw | each | 0.18 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
14 |  | Fixing, 12G - 24 x 45mm HEX Head, Self Drilling Screw | each | 0.18 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
15 |  | Fixing, M10 x 25mm HEX Bolt & Nut, Hot Dip Galvanised | each | 1.04 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
16 |  | Fixing, M10 x 3.5 x 2.2mm Spring Washer, Hot Dip Galvanised | each | 0.77 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
17 |  | Floor Panel, 1.8kPa, 2400 x 2995mm | pair | 417.39 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
18 |  | Floor Panel, 4.0kPa, 2400 x 2995mm | pair | 469.57 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
19 |  | Grommet, Plastic, 35mm diameter | each | 1.05 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
20 |  | HDG Support Angle, 75mm x 75mm x 3mm | each | 14.33 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
21 |  | HDG Support Angle, 75mm x 75mm x 6mm | each | 14.33 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
22 |  | Holdown Fix & Washer | each | 1.02 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
23 |  | Light Gauge Steel Framing FF Wall, 0.75mm BMT, G550, Z275 | m | 9.02 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
24 |  | Light Gauge Steel Framing Truss, 0.75mm BMT, G550, Z275 | m | 9.02 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | Framecad LM
25 |  | Light Gauge Steel Framing Truss, 0.95mm BMT, G550, Z275 | m | 9.02 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
26 |  | Pier Head, Type B, Center, Q340, HDG | each | 88.07 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
27 |  | Pier Head, Type D, Perimeter, Q340, HDG | each | 91.54 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
28 |  | Post Bracing ¦ 12mm Deformed Bar, 600mm | len | 3.89 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
29 |  | Roof Batten, 41mm, G550, AZ150, 5800mm | len | 22.88 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
30 |  | SHS Roof Beam, 75mm x 75mm x 4mm, 5.8 metres | len | 228.42 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
31 |  | SHS Steel Post, 75mm x 75mm x 4mm, 3.20 metres | len | 126.02 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
32 |  | SHS Steel Post, 75mm x 75mm x 4mm, 5.8 metres | len | 228.42 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
33 |  | Strap Fix Bracing, 32mm x 0.95mm | lm | 3.32 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
34 |  | Strap Fix Tensioner | each | 3.62 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
35 |  | Triple Grip, Left Hand | each | 0.8 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
36 |  | Triple Grip, Right Hand | each | 0.8 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | FKHSwL-Timber
50112 - ROOF & ROOF PLUMBING
37 |  | Apron Fashing, 3800mm | len | 72.03 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
38 |  | Barge Capping, 5800mm | len | 97.44 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
39 |  | Fascia Clip | each | 2.87 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
40 |  | Fascia, 5800mm | len | 151.06 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
41 |  | Fixing, 1/8" x 3/8" Aluminum Blind Rivets | each | 0.07 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
42 |  | Fixing, 12G - 14 x 50mm HEX Head with Rubber Washer, Class 4, Self Drilling Screw | each | 0.18 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
43 |  | PVC 65°Elbow | each | 1.67 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
44 |  | PVC 90°Elbow | each | 1.67 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
45 |  | PVC Conversion Joint for Downspout | each | 1.71 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
46 |  | PVC Downspout | each | 36.31 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
47 |  | PVC Downspout Clip | each | 0.62 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
48 |  | PVC Downspout Connector | each | 1.6 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
49 |  | PVC Drop Outlet | each | 4.94 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
50 |  | PVC Endcap Left | each | 2.16 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
51 |  | PVC Endcap Right | each | 2.16 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
52 |  | PVC Gutter Hanger A | each | 0.62 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
53 |  | PVC Gutter Hanger U | each | 1.39 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
54 |  | PVC Gutter Joiner | each | 3.66 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
55 |  | PVC Rain Gutter | len | 36.31 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
56 |  | Ridge Capping, 5800mm | len | 216.02 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
57 |  | Roof Cladding, Corrugated, G550, AZ150, 3050mm x 762mm | len | 72.59 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
58 |  | Roof Cladding, Corrugated, G550, AZ150, 3650mm x 762mm | len | 86.87 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
59 |  | Roof Cladding, Corrugated, G550, AZ150, 3750mm x 762mm | len | 89.25 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
60 |  | Roof Cladding, Corrugated, G550, AZ150, 4450mm x 762mm | len | 105.91 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
61 |  | Roof Infill Strip | m | 2.2 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
62 |  | Special Glue for PVC Gutter | each | 5.01 | 50112 - ROOF & ROOF PLUMBING | FKHSwL-Timber
50113 - EXTERNAL CLADDING
63 |  | Aluminium External Corner Soaker, 230mm | len | 3.32 | 50113 - EXTERNAL CLADDING | FKHSwL-Timber
64 |  | Fixing, 12G - 14 x 20mm Countersunk Head, Self Drilling Screw | each | 0.07 | 50113 - EXTERNAL CLADDING | FKHSwL-Timber
65 |  | PVC H Mould Joiner, External Lining, 7.5mm x 230mm | len | 0.42 | 50113 - EXTERNAL CLADDING | FKHSwL-Timber
66 |  | Soffit Flashing¦ Colorbond Soffit Flashing, 5800mm_Surfmist | len | 57.13 | 50113 - EXTERNAL CLADDING | FKHSwL-Timber
67 |  | Stud Clips, Hot Dip Galvanized | each | 0.52 | 50113 - EXTERNAL CLADDING | FKHSwL-Timber
68 |  | Weatherboard, Middle Density, 4200mm x 230mm x 7.5mm | len | 18.02 | 50113 - EXTERNAL CLADDING | FKHSwL-Timber
50114 - DOORS, WINDOWS & GLAZINGS
69 |  | 150mm x 505mm x 6mm thk Clear Louvre Glass | each | 4.41 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
70 |  | 150mm x 505mm x 6mm thk Frosted Louvre Glass | each | 4.41 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
71 |  | 16Ø Plain Round bar, Galvanized_1200mm | len | 16.8 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
72 |  | Deadbolt Lock Set, Stainless Steel, Satin Finish, Single Cylinder | each | 14.89 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
73 |  | Door Stop, Half Moon, Floor Mounted | each | 3.9 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
74 |  | Door, Hollow Core, 2040mm x 720mm x 35mm | each | 273.87 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
75 |  | Door, Hollow Core, 2040mm x 820mm x 35mm | each | 294.2 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
76 |  | Door, Solid Core, 2040mm x 920mm x 35mm | each | 351.42 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
77 |  | Entrance Lock Set, Stainless Steel, Satin Finish, Tubular Knob | each | 13.88 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
78 |  | Fixing ¦ 10G - 24 x 40mm Countersunk, DP self drilling screw | each | 0.1 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
79 |  | Flashing ¦ Door Head Flashing, 1000mm_Surfmist | len | 10.08 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
80 |  | Flashing ¦ Door Side Flashing, 2100mm_Surfmist | len | 21.17 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
81 |  | Flashing ¦ Window Head Flashing, 1300mm_Surfmist | len | 12.1 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
82 |  | Flashing ¦ Window Head Flashing, 700mm_Surfmist | len | 6.25 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
83 |  | Flashing ¦ Window Side Flashing, 1200mm_Surfmist | len | 12.1 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
84 |  | Flashing ¦ Window Side Flashing, 1850mm_Surfmist | len | 18.65 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
85 |  | Flashing ¦ Window Side Flashing, 800mm_Surfmist | len | 8.06 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
86 |  | Hinge, Fixed Pin, Stainless Steel,100mm x 75mm x 2.5mm | each | 13.04 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
87 |  | Louver Frame, 5blades | pairs | 34.65 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
88 |  | Louver Frame, 7blades | pairs | 48.51 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
89 |  | Privacy Lock Set, Stainless Steel, Satin Finish, Tubular Knob | each | 13.78 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
90 |  | Timber Door Jamb ¦ 2100mmH x 1000mmW | each | 197.49 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
91 |  | Timber Door Jamb ¦ 2100mmH x 800mmW | each | 185.78 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
92 |  | Timber Door Jamb ¦ 2100mmH x 900mmW | each | 191.64 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
93 |  | Timber Frame Window ¦ 800 x 620mm, 40mm thick | each | 127.18 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
94 |  | Timber Framed Window ¦ 1080 x 1200mm, 40mm thick | each | 234.71 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
95 |  | Timber Framed Window ¦ 1850 x 1200mm, 40mm thick | each | 379.46 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
96 |  | Window Mesh¦ Fly Screen | m2 | 7.3 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
97 |  | Window Strips ¦ 12 x 38 x 2400mm Timber | len | 14.55 | 50114 - DOORS, WINDOWS & GLAZINGS | FKHSwL-Timber
50115 - INTERNAL LININGS & FINISHES
98 |  | Aluminium Floor Trim, L Angle, 900mm | each | 16.7 | 50115 - INTERNAL LININGS & FINISHES | FKHSwL-Timber
99 |  | Ceramic Tiles, 150mm x150mm | m2 | 29.5 | 50115 - INTERNAL LININGS & FINISHES | FKHSwL-Timber
100 |  | Ceramic Tiles, 300mm x 300mm, Non-Slip | m2 | 42.74 | 50115 - INTERNAL LININGS & FINISHES | FKHSwL-Timber
101 |  | Fibre Cement Sheet, 2400mm x 1200mm x 18mm | each | 100.59 | 50115 - INTERNAL LININGS & FINISHES | FKHSwL-Timber
102 |  | Fibre Cement Sheet, 2400mm x 1200mm x 6mm | each | 30.26 | 50115 - INTERNAL LININGS & FINISHES | FKHSwL-Timber
103 |  | Fibre Cement Sheet, 2700mm x 1200mm x 6mm | each | 38.4 | 50115 - INTERNAL LININGS & FINISHES | FKHSwL-Timber
104 |  | Fixing, 10G - 24 x 40mm Countersunk Head, Zinc Plated, Self Drilling Screw | each | 0.1 | 50115 - INTERNAL LININGS & FINISHES | FKHSwL-Timber
105 |  | Fixing, 6G - 18 x 25mm Bugle Head, Zinc Plated, Self Drilling Screw | each | 0.03 | 50115 - INTERNAL LININGS & FINISHES | FKHSwL-Timber
106 |  | Flexible Tile Adhesive, 20 kg | each | 120.38 | 50115 - INTERNAL LININGS & FINISHES | FKHSwL-Timber
107 |  | PVC Corner Mould, External Joint, 6mm x 2700mm | len | 6.47 | 50115 - INTERNAL LININGS & FINISHES | FKHSwL-Timber
108 |  | PVC Corner Mould, Internal Joint, 6mm x 2700mm | len | 6.47 | 50115 - INTERNAL LININGS & FINISHES | FKHSwL-Timber
109 |  | PVC H Mould Joiner, Internal Lining, 6mm x 2400mm | len | 3.9 | 50115 - INTERNAL LININGS & FINISHES | FKHSwL-Timber
110 |  | PVC H Mould Joiner, Internal Lining, 6mm x 2700mm | len | 4.38 | 50115 - INTERNAL LININGS & FINISHES | FKHSwL-Timber
111 |  | Stud Adhesive, Water-based Acyrlic, 4 Litre | each | 96.25 | 50115 - INTERNAL LININGS & FINISHES | FKHSwL-Timber
112 |  | Vinyl Floor Plank, 1220mm x 150mm x 2mm | m2 | 21.5 | 50115 - INTERNAL LININGS & FINISHES | FKHSwL-Timber
113 |  | Vinyl Plank Adhesive, Water-based Acyrlic, 15 Litre | each | 580.96 | 50115 - INTERNAL LININGS & FINISHES | FKHSwL-Timber
50116 - PAINTING
114 |  | Aqua Prime White, 5L - Metal Surfaces | bucket | 190.95 | 50116 - PAINTING | Paints
115 |  | Koramel H2O Base1, 5L - Architraves, Skirting, Cornice and Door & Window Jambs | bucket | 175.5 | 50116 - PAINTING | Paints
116 |  | Koramel H2O Base1, 5L - Door Panel | bucket | 175.5 | 50116 - PAINTING | Paints
117 |  | Koramel H2O Base2, 5L - Architraves, Skirting, Cornice and Door & Window Jambs | bucket | 176.6 | 50116 - PAINTING | Paints
118 |  | Koramel H2O Base2, 5L - Door Panel | bucket | 176.6 | 50116 - PAINTING | Paints
119 |  | Koramel H2O Base2, 5L - Metal Surfaces | bucket | 176.6 | 50116 - PAINTING | Paints
120 |  | Korever Base 2, 5L - External Ceiling | bucket | 86.29 | 50116 - PAINTING | Paints
121 |  | Korever Base 2, 5L - External Wall | bucket | 86.29 | 50116 - PAINTING | Paints
122 |  | VinylGlow Base 2, 15L - Internal Wall | bucket | 239.4 | 50116 - PAINTING | Paints
123 |  | VinylGlow Base 2, 5L - Internal Ceiling | bucket | 86.29 | 50116 - PAINTING | Paints
124 |  | Wall Sealer 100 White, 18L - Internal Wall | bucket | 148.77 | 50116 - PAINTING | Paints
125 |  | Wall Sealer 100 White, 5L - Internal Ceiling | bucket | 45.34 | 50116 - PAINTING | Paints
126 |  | Wall Sealer 500 White, 5L - External Ceiling | bucket | 73.13 | 50116 - PAINTING | Paints
127 |  | Wall Sealer 500 White, 5L - External Wall | bucket | 73.13 | 50116 - PAINTING | Paints
50117 - HYDRAULICS
128 |  | Brass Gate Valve Female/Female 1" FI | each | 38.33 | 50117 - HYDRAULICS | FKHSwL-Timber
129 |  | Brass Gate Valve Female/Female 1/2" FI | each | 21.91 | 50117 - HYDRAULICS | FKHSwL-Timber
130 |  | Brass Swing Check Valve 1" | each | 37.84 | 50117 - HYDRAULICS | FKHSwL-Timber
131 |  | Brass Swing Check Valve 1/2" | each | 27.41 | 50117 - HYDRAULICS | FKHSwL-Timber
132 |  | Brass Threaded Nipple Male 1" MI | each | 8.62 | 50117 - HYDRAULICS | FKHSwL-Timber
133 |  | Brass Threaded Nipple Male 1/2" MI | each | 4.46 | 50117 - HYDRAULICS | FKHSwL-Timber
134 |  | Crimper | each | 469.57 | 50117 - HYDRAULICS | FKHSwL-Timber
135 |  | Dektite Rubber 65mm | each | 49.42 | 50117 - HYDRAULICS | FKHSwL-Timber
136 |  | Flexible Hose 1/2"F x 1/2"F x 400mm | each | 13.14 | 50117 - HYDRAULICS | FKHSwL-Timber
137 |  | Hanging Clip for 50mm UPVC Pipe | each | 11.48 | 50117 - HYDRAULICS | FKHSwL-Timber
138 |  | PEX Equal Elbow 16mm x 16mm | each | 8.62 | 50117 - HYDRAULICS | FKHSwL-Timber
139 |  | PEX Equal Elbow 25mm x 25mm | each | 14.68 | 50117 - HYDRAULICS | FKHSwL-Timber
140 |  | PEX Fixed Straight Adapter Male Thread 16 x 1/2" MI | each | 8.7 | 50117 - HYDRAULICS | FKHSwL-Timber
141 |  | PEX Fixed Straight Adapter Male Thread 25 x 1" MI | each | 15.38 | 50117 - HYDRAULICS | FKHSwL-Timber
142 |  | PEX Pipe 16mm | m | 2.71 | 50117 - HYDRAULICS | FKHSwL-Timber
143 |  | PEX Pipe 25mm | m | 5.63 | 50117 - HYDRAULICS | FKHSwL-Timber
144 |  | PEX Reducing Coupling 25mm x 16mm | each | 10.33 | 50117 - HYDRAULICS | FKHSwL-Timber
145 |  | PEX Stopper 16mm | each | 4.94 | 50117 - HYDRAULICS | FKHSwL-Timber
146 |  | PEX Stopper 25mm | each | 6.54 | 50117 - HYDRAULICS | FKHSwL-Timber
147 |  | PEX Straight Coupling 16mm x 16mm | each | 8.14 | 50117 - HYDRAULICS | FKHSwL-Timber
148 |  | PEX Straight Coupling 25mm x 25mm | each | 9.74 | 50117 - HYDRAULICS | FKHSwL-Timber
149 |  | PEX T-Piece Reduced Centre 25mm x 25mm x 16mm | each | 22.22 | 50117 - HYDRAULICS | FKHSwL-Timber
150 |  | PEX Winged Back Elbow Male Thread 16mm x 1/2” x 65mm MI | each | 15.3 | 50117 - HYDRAULICS | FKHSwL-Timber
151 |  | PVC Heavy Duty Clear Cement 500ml | each | 6.64 | 50117 - HYDRAULICS | FKHSwL-Timber
152 |  | PVC Priming Fluid Red, 500ml | each | 32 | 50117 - HYDRAULICS | FKHSwL-Timber
153 |  | SS Floor Grate 100mm | each | 19.02 | 50117 - HYDRAULICS | FKHSwL-Timber
154 |  | Saddle Clip 25mm | each | 1.81 | 50117 - HYDRAULICS | FKHSwL-Timber
155 |  | Shower Assembly Right Angle 8" | each | 75.66 | 50117 - HYDRAULICS | FKHSwL-Timber
156 |  | Stop Cock Female - Male with Back Plate 1/2"F x 1/2"F MI Right Angle | each | 17.68 | 50117 - HYDRAULICS | FKHSwL-Timber
157 |  | UPVC 45° Plain Bend F/F 100mm | each | 6.57 | 50117 - HYDRAULICS | FKHSwL-Timber
158 |  | UPVC 45° Plain Bend F/F 50mm | each | 0.62 | 50117 - HYDRAULICS | FKHSwL-Timber
159 |  | UPVC 88° Plain Bend F/F 100mm | each | 4.18 | 50117 - HYDRAULICS | FKHSwL-Timber
160 |  | UPVC 88° Plain Bend F/F 50mm | each | 0.87 | 50117 - HYDRAULICS | FKHSwL-Timber
161 |  | UPVC 88° Plain Junction F/F 100mm | each | 5.29 | 50117 - HYDRAULICS | FKHSwL-Timber
162 |  | UPVC Combination S&P Trap 40mm | each | 5.08 | 50117 - HYDRAULICS | FKHSwL-Timber
163 |  | UPVC Combination S&P Trap 50mm | each | 7.17 | 50117 - HYDRAULICS | FKHSwL-Timber
164 |  | UPVC DWV Pipe 100mm X 5.8m | len | 63.27 | 50117 - HYDRAULICS | FKHSwL-Timber
165 |  | UPVC DWV Pipe 40mm X 5.8m | len | 16.07 | 50117 - HYDRAULICS | FKHSwL-Timber
166 |  | UPVC DWV Pipe 50mm X 5.8m | len | 23.2 | 50117 - HYDRAULICS | FKHSwL-Timber
167 |  | UPVC Dome Collar & Grate 100mm | each | 2.68 | 50117 - HYDRAULICS | FKHSwL-Timber
168 |  | UPVC Floor Waste Gully F/F 100mm | each | 9.39 | 50117 - HYDRAULICS | FKHSwL-Timber
169 |  | UPVC Four Way Riser F/F 100mm x 50mm x 50mm x 50mm x 40mm | each | 4.42 | 50117 - HYDRAULICS | FKHSwL-Timber
170 |  | UPVC Inspection Opening with Cap F/F 100mm | each | 8.21 | 50117 - HYDRAULICS | FKHSwL-Timber
171 |  | UPVC Pan Collar 100mm | each | 5.81 | 50117 - HYDRAULICS | FKHSwL-Timber
172 |  | UPVC Reducing Socket 100 x 50mm | each | 1.25 | 50117 - HYDRAULICS | FKHSwL-Timber
173 |  | UPVC Round Floor Grate 100mm | each | 58.74 | 50117 - HYDRAULICS | FKHSwL-Timber
174 |  | UPVC Saddle Clip 100mm | each | 0.73 | 50117 - HYDRAULICS | FKHSwL-Timber
175 |  | UPVC Saddle Clip 50mm | each | 3.41 | 50117 - HYDRAULICS | FKHSwL-Timber
176 |  | UPVC Sink Connector 50mm | each | 26 | 50117 - HYDRAULICS | FKHSwL-Timber
177 |  | UPVC Straigth Coupling 100mm | each | 2.12 | 50117 - HYDRAULICS | FKHSwL-Timber
178 |  | UPVC Straigth Coupling 50mm | each | 0.52 | 50117 - HYDRAULICS | FKHSwL-Timber
179 |  | UPVC Threaded Adaptor 50mm x 2" Female | each | 0.44 | 50117 - HYDRAULICS | FKHSwL-Timber
180 |  | UPVC Vent Cowl 50mm | each | 1.22 | 50117 - HYDRAULICS | FKHSwL-Timber
50118 - INSULATION
181 |  | Fixing, 10G - 14 x 16mm Wafer Head, Square, Class 3, Self Drilling Screw | each | 0.03 | 50118 - INSULATION | FKHSwL-Timber
182 |  | Insulation Tape, 48mm x 50metres | each | 46.28 | 50118 - INSULATION | FKHSwL-Timber
183 |  | Malthoid, 90mm x 20 metres | each | 44.72 | 50118 - INSULATION | FKHSwL-Timber
184 |  | Mesh Chicken Wire, 50x1x1.8x50 | roll | 343.59 | 50118 - INSULATION | FKHSwL-Timber
185 |  | Reflective Aluminium Foil Insulation, 1350mm x 60m (81sqm/roll) | roll | 197.73 | 50118 - INSULATION | FKHSwL-Timber
50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
186 |  | 1-way Junction Box 20mmdia | pcs | 1.13 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
187 |  | 1.5mm Flat TPS Cable, 2 Core & Earth, PVC | meters | 3.58 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
188 |  | 1.5mm Flat TPS Cable, 2 Core, PVC | meters | 2.68 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
189 |  | 10W LED Floodlight, Weatherproof, 6500K, White | pcs | 16.59 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
190 |  | 12W LED Oyster Light, Round, 6500K, White | pcs | 22.33 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
191 |  | 12W LED Oyster Light, Round, Weatherproof, 6500K, White | pcs | 22.43 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
192 |  | 16mm Flat TPS Cable, 2 Core & Earth, PVC | meters | 34.3 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
193 |  | 16mm Flat TPS Cable, 2 Core, PVC | meters | 29.53 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
194 |  | 18W LED Oyster Light, Round, 6500K, White | pcs | 27.44 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
195 |  | 2.5mm Flat TPS Cable, 2 Core & Earth, PVC | meters | 5.84 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
196 |  | 6mm Building Wire, PVC, Green/Yellow | meters | 4.8 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
197 |  | 6mm2 cable lug x 6mm hole | pcs | 0.55 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
198 |  | Adaptable Box 75 x 75 x 50mm | pc | 2.43 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
199 |  | Ceiling Fan, 4 blade, 1200mm, White (complete with regulator, fixings and hooks) | sets | 216.52 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
200 |  | Coach Screw, 10mmdia x 60mm for mounting ceiling fans | pcs | 0.28 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
201 |  | Conduit, Light Duty, 20mm x 4 metres | length | 5.34 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
202 |  | Conduit, Light Duty, 25mm x 4 metres | lengths | 7.38 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
203 |  | Conduit, Light Duty, 32mm x 4 metres | lengths | 11.48 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
204 |  | Coupling, 20mm | pc | 0.67 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
205 |  | Coupling, 25mm | pcs | 1.14 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
206 |  | Coupling, 32mm | pcs | 1.57 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
207 |  | Double GPO, Power Point, 10A | pcs | 6.89 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
208 |  | Earth Rod with Clip, 13mm diameter, 1400mm | pc | 35.48 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
209 |  | Exhaust Fan, Wall Mount, 150mm | pcs | 43.82 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
210 |  | Fixing, 8G x 16mm Wafer Head, for Metal, Class 3, Hot Dip Galvanzied, Self Drilling Screw | each | 0.03 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
211 |  | Fixing, 8G x 40mm Wafer Head, for Metal, Class 3, Hot Dip Galvanzied, Self Drilling Screw | each | 0.03 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
212 |  | Grommet, Plastic, 35mm diameter | pcs | 1.05 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
213 |  | Inspection Tee, 25mmdia, LD, grey | pc | 0.95 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
214 |  | Insulation Tape, PVC, Black, 18mm x 20metres | rolls | 1.42 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
215 |  | Insulation Tape, PVC, Red, 18mm x 20metres | rolls | 1.42 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
216 |  | Insulation Tape, PVC, Yellow&Green, 18mm x 20metres | roll | 1.42 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
217 |  | Light Switch, 1 Gang, | pcs | 3.76 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
218 |  | Light Switch, 2 Gang, | pcs | 6.33 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
219 |  | Light Switch, 3 Gang, | pc | 7.01 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
220 |  | Load Centre, 12 Pole, Surface Mount, PV, Transparent Door | pc | 36 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
221 |  | Mains Connection Box, 1-phase, 16 mm2 | pc | 21.91 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
222 |  | Meter Box, Galvanized, Weatherproof, 300mm x 300mm x 250mm | pc | 146.09 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
223 |  | Miniature Circuit Breaker, 1P, 63A, 10kA, C Curve | pcs | 7.82 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
224 |  | Mounting Bracket, Vertical/Horizontal, Pre-galvanized Steel | pcs | 0.94 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
225 |  | Plain to Screw Adaptor, 20mm, with Lock Ring | pc | 0.2 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
226 |  | Plain to Screw Adaptor, 25mm, with Lock Ring | pcs | 0.49 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
227 |  | Plain to Screw Adaptor, 32mm, with Lock Ring | pcs | 0.77 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
228 |  | RCBO, 10A, 30mA, 1P+N, C Curve, Slim Type | pcs | 32.34 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
229 |  | RCBO, 16A, 30mA, 1P+N, C Curve, Slim Type | pcs | 32.34 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
230 |  | Saddle, PVC, 20mm | pcs | 0.08 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
231 |  | Saddle, PVC, 25mm | pcs | 0.14 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
232 |  | Saddle, PVC, 32mm | pcs | 0.21 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
233 |  | Single GPO, Power Point, 10A | pcs | 5.5 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
234 |  | Single Screw Connector | pcs | 0.28 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
235 |  | Smoke Alarm, Mains Powered, 240V AC, with 9V DC Battery Backup | pcs | 19.82 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
236 |  | Weatherproof Double GPO, Power Point, 10A, IP53 | pc | 16.18 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
237 |  | Weatherproof Single GPO, Power Point, 10A, IP53 | pc | 13.04 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | FKHSwL-Timber
50124 - STAIRS, RAMPS, & BALLUSTRADES
238 |  | 1015mm Floor Joists | len | 23.94 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
239 |  | 37° Slope Balustrade Panel 503mm x 4000mm, 12mm Round Bars | each | 281.74 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
240 |  | Adjustable Short Tee, 42.4mm OD (Part No: 129, Type C) | each | 9.53 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
241 |  | Assist Elbow, 42.4mm OD (Part No: DDA-721) | each | 6.92 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
242 | 50124-AIA-004 | Assist Inline Adjustable Knuckle, 42.4mm OD (Part No: DDA-764) | each | 12.07 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | Stair & Railings
243 |  | Base Flange, 42.4mm OD (Part No: 131, Type C) | each | 7.9 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
244 |  | Double Fixing Bracket, 42.4mm OD (Part No: 198, Type C) | each | 6.12 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
245 |  | Fixing, M12 x 40mm Bolt & Nut with Washer, Hex Head, Class 4.6, Hot Dip Galvanized | each | 2.61 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
246 |  | Fixing, M12 x 75mm Sleeve Anchors, HEX Head, Class 4.6, Hot Dip Galvanised | each | 1.48 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
247 | 50111-FLW-001 | Fixing, M8 x 19 X 1.6mm Flat Washer, Class 4.6, Hot Dip Galvanized | each | 0.62 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | Stair & Railings
248 |  | Fixing, M8 x 60mm Bolt & Nut, Cup Head, Class 4.6, Hot Dip Galvanized | each | 1.04 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
249 |  | Floor Panel, 4kPa, 1150 x 1150mm | pair | 177.39 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
250 | 50107-FLP-002 | Floor Panel, 4kPa, 1150mm | pairs | 177.39 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | Stair & Railings
251 |  | Floor Panel, 4kPa, 2400mm | pairs | 469.57 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
252 |  | Hardwood Stair Treads, 125mm x 50mm, 1200mm | each | 27.79 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
253 | 50124-GSP-001 | Hot Dip Galvanized Steel Pipe 40mm OD x 5800mm | len | 129.67 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | Stair & Railings
254 |  | Internal Expanding Joint, 42.4mm OD (Part No: 150, Type C) | each | 6.12 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
255 |  | Mash Panel Clip Single, 42.4mm OD (Part No: 170, Type C) | each | 2.58 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
256 | 50124-MPC-003 | Mesh Panel Clip Single, 42.4mm OD (Part No: 170, Type C) | each | 2.58 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | Stair & Railings
257 |  | No Slope Balustrade Panel 695mm x 4000mm, 12mm Round Bars | each | 286.96 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
258 | 50107-PHA-001 | Pier Head, Type A, Corner, Q340, HDG | each | 88.07 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | Stair & Railings
259 | 50124-PEC-003 | Plastic End Cap, 42.4mm OD (Part No: 133, Type C) | each | 0.45 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | Stair & Railings
260 |  | Railing Base Flange, 42.4mm OD (Part No: 132, Type C) | each | 13.84 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
261 |  | SHS Steel Post, 75mm x 75mm x 4mm, 2.5 metres | each | 98.46 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
262 |  | Saddle Bracket, (Part No: DDA-4) | each | 11.23 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | Stair & Railings
263 |  | Saddle Bracket, 42.4mm OD (Part No: DDA-751M) | each | 4.49 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
264 |  | Short Tee, 42.4mm OD (Part No: 101, Type C) | each | 6.54 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
265 | 50124-SMS-003 | Single Male Swivel, 42.4mm OD (Part No: 173M, Type C) | each | 11.23 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | Stair & Railings
266 |  | Stair Stringer (STR-1), Prefabricated Complete Set (L/R), 5 Riser | Pair | 605.22 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | FKHSwL-Timber
267 | 50124-STS-002 | Stair Stringer (STR-2), Prefabricated Complete Set (L/R), 9 Riser | Pair | 1053.91 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | Stair & Railings
268 | 50124-TSC-004 | Two Socket Cross, 42.4mm OD (Part No: 119, Type C) | each | 8.87 | 50124 - STAIRS, RAMPS, & BALLUSTRADES | Stair & Railings
50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
269 |  | 16Ø Plain Round bar, Galvanized_620mm | len | 90.29 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
270 |  | Bamboo Bench Top, 1208mm Wx 620mmD, 25mm thickness | each | 148.7 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
271 |  | Bamboo Bench Top, 2100mmW x 620mmD, 25mm thickness | each | 250.43 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
272 |  | Bamboo Bench Top, 920mm Wx 620mmD, 25mm thickness | each | 106.96 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
273 |  | Base Cabinet, Chipboard, White, 250mmW x 561mmD x 720mmH | each | 190.43 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
274 |  | Base Cabinet, Chipboard, White, 450mmW x 561mmD x 720mmH | each | 218.09 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
275 |  | Base Cabinet, Chipboard, White, 900mmW x 561mmD x 720mmH | each | 341.74 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
276 |  | Basin Mixer Tap, Chrome Finish, DR Brass Body, Ceramic cartridge with Watermark+WELS certificate | each | 129.7 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
277 |  | Bathroom Mirror, Flat Edge, 900mm x 600mm | each | 77.98 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
278 |  | Colorbond Corner Flashing, 2400mm_Surfmist | len | 75.75 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
279 |  | Corner Base Cabinet, Chipboard, White, 900x 900mmW x 561mmD x 720mmH | each | 498.26 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
280 |  | Cornice ¦ 35 x 35 x 2400mm Timber Cornice | len | 14.7 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
281 |  | Door Architrave ¦ 12 x 75 x 2400mm Timber | len | 18.9 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
282 |  | Drawer Cabinet, Chipboard, White, 450mmW x 561mmD x 720mmH | each | 247.82 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
283 |  | Fixing, 10G - 16 x 25mm HEX Head with Rubber Washer, Class 3, Self Drilling Screw | each | 0.07 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
284 |  | Fixing, M12 x 75mm Sleeve Anchor, HEX Head, Class 4.6, Hot Dip Galvanised | each | 1.46 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
285 |  | Flashing ¦ Door Head Flashing, 900mm_Surfmist | len | 10.08 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
286 |  | Kickboard, 2400mm | len | 52.52 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
287 |  | Kitchen Mixer Tap, Chrome Finish, DR Brass Body, Ceramic cartridge with Watermark+WELS certificate | each | 129.14 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
288 |  | Kithcen Sink with Drainer, Stainless Steel, 1.75 EB Left Hand Bowl, 1 Tap Hole, 1080mm x 480mm x 190mm | each | 423.66 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
289 |  | Laundry Assembly Right Angle 8" | each | 60 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
290 |  | Laundry Mixer Tap, Chrome Finish, DR Brass Body, Ceramic cartridge with Watermark+WELS certificate | each | 104.07 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
291 |  | Laundry Sink with Drainer, Stainless Steel, 1160mm x 500mm x 1000mm | each | 98.37 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
292 |  | Light Gauge Steel Framing GF Wall, 0.75mm BMT, G550, Z275 | m | 9.02 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
293 |  | Rangehood Wall Cabinet, Chipboard, White, 600mmW x 299mmD x 460mmH | each | 211.82 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
294 |  | Shower Base, Anti-slip, Centre Outlet, 900x900x85mm | each | 273.67 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
295 |  | Shower Base, Anti-slip, Rear Outlet, 900x1200x85mm | each | 323.2 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
296 |  | Shower Curtain Rail, Adjustable, 700-1200mm | each | 29.84 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
297 |  | Shower Set, Chrome Finish, DR Brass Body with Watermark +WELS certificate | each | 139.06 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
298 |  | Single Towel Rail, Stainless Steel, 600mm | each | 49.36 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
299 |  | Skirting ¦ 12 x 75 x 2400mm Timber Skirting | len | 18.9 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
300 |  | Soap Holder, Stainless Steel | each | 41.11 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
301 |  | Soffit Cladding, 0.42 BMT, 2320mm x 850mm | len | 84.7 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
302 |  | Toilet Roll Holder, without cover, Stainless Steel, 185mm x 95.5mm | each | 31.2 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
303 |  | Toilet Suite, S Trap, (compete with cistern, seat and connectors) | each | 224.16 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
304 |  | Transition Flashing ¦ Colorbond Transition Flashing, 3000mm_Surfmist | len | 84.17 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
305 |  | Vanity on Legs, Ceremic Top, 1 Tap Hole, 600mm x 480mm x 890mm | each | 446.61 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
306 |  | Wall Cabinet, Chipboard, White, 450mmW x 299mmD x 720mmH | each | 180 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
307 |  | Washing Machine Tap, Chrome Finish, DR Brass Body, Ceramic cartridge with Watermark+WELS certificate | each | 104.07 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
308 |  | Window Architrave ¦ 12 x 75 x 2400mm Timber | len | 18.9 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | FKHSwL-Timber
50137 - CONSUMABLES
309 |  | F72 Mesh - 5.8m x 2.2m | sheet | 258 | 50137 - CONSUMABLES | Consumables
310 |  | Gyprock Base Coat 45 | bag | 110 | 50137 - CONSUMABLES | Consumables
311 |  | No more Gaps | tube | 18 | 50137 - CONSUMABLES | Consumables
312 |  | PVC Tile Trims Corners | len | 99 | 50137 - CONSUMABLES | Consumables
313 |  | PVC Tile Trims Straight Edge | len | 99 | 50137 - CONSUMABLES | Consumables
314 |  | Polyurethane Sealant Sika Flex | tube | 72 | 50137 - CONSUMABLES | Consumables
315 |  | Roof and Gutter Silicon | tube | 37.99 | 50137 - CONSUMABLES | Consumables
316 |  | Tile Grout 10kg (White) | bag | 44.37 | 50137 - CONSUMABLES | Consumables
317 |  | Tile Grout 20kg (Grey) | bag | 83.94 | 50137 - CONSUMABLES | Consumables
318 |  | Tile Spacer 2mm | packet | 3.5 | 50137 - CONSUMABLES | Consumables
319 |  | Tile Spacer 4mm | packet | 26.72 | 50137 - CONSUMABLES | Consumables
320 |  | Waterproofing Membrane 15L | bucket | 500 | 50137 - CONSUMABLES | Consumables
321 |  | Welding Rod 2.0MM 5KG BOX | kg | 19 | 50137 - CONSUMABLES | Consumables
322 |  | Y12 bars x 5.8m | len | 25.92 | 50137 - CONSUMABLES | Consumables

## Quick Lookup
Stock Code | Description | Unit | Rate (PGK) | Category
| Cornice ¦ 25 x 25 x 2400mm Timber Cornice | len | 14.7 | 50106 - TIMBER & WPC
| Door Architrave ¦ 12 x 75 x 2400mm Timber Plain | len | 18.9 | 50106 - TIMBER & WPC
| Fixing, 8G - 10 x 50mm Countersunk Head, Zinc Plated, Self Drilling Screw | each | 0.07 | 50106 - TIMBER & WPC
| Timber Decking ¦ 25 x 140 x 3000mm Timber | len | 73.5 | 50106 - TIMBER & WPC
| 2265mm Floor Joists | len | 51.76 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Angle Brace, 40mm x 40mm x 3mm, 3.5 metres | len | 70.43 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Ceiling Batten, 20mm, G550, AZ150, 5800mm | len | 18 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Continuous 40 x 40mm Angle. 0.95BMT, G550, Z275 | m | 7.35 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Fix Plate Connector | each | 4.21 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Fixing, 10G - 16 x 16mm Wafer Head, Class 3, Self Drilling Screw | each | 0.14 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Fixing, 10G - 18 x 19mm Flat Head, Class 3, Self Drilling Screw | each | 0.03 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Fixing, 12G - 14 x 20mm HEX Head, Self Drilling Screw | each | 0.07 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Fixing, 12G - 24 x 38mm HEX Head, Self Drilling Screw | each | 0.18 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Fixing, 12G - 24 x 45mm HEX Head, Self Drilling Screw | each | 0.18 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Fixing, M10 x 25mm HEX Bolt & Nut, Hot Dip Galvanised | each | 1.04 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Fixing, M10 x 3.5 x 2.2mm Spring Washer, Hot Dip Galvanised | each | 0.77 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Floor Panel, 1.8kPa, 2400 x 2995mm | pair | 417.39 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Floor Panel, 4.0kPa, 2400 x 2995mm | pair | 469.57 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Grommet, Plastic, 35mm diameter | each | 1.05 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| HDG Support Angle, 75mm x 75mm x 3mm | each | 14.33 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| HDG Support Angle, 75mm x 75mm x 6mm | each | 14.33 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Holdown Fix & Washer | each | 1.02 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Light Gauge Steel Framing FF Wall, 0.75mm BMT, G550, Z275 | m | 9.02 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Light Gauge Steel Framing Truss, 0.75mm BMT, G550, Z275 | m | 9.02 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Light Gauge Steel Framing Truss, 0.95mm BMT, G550, Z275 | m | 9.02 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Pier Head, Type B, Center, Q340, HDG | each | 88.07 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Pier Head, Type D, Perimeter, Q340, HDG | each | 91.54 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Post Bracing ¦ 12mm Deformed Bar, 600mm | len | 3.89 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Roof Batten, 41mm, G550, AZ150, 5800mm | len | 22.88 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| SHS Roof Beam, 75mm x 75mm x 4mm, 5.8 metres | len | 228.42 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| SHS Steel Post, 75mm x 75mm x 4mm, 3.20 metres | len | 126.02 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| SHS Steel Post, 75mm x 75mm x 4mm, 5.8 metres | len | 228.42 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Strap Fix Bracing, 32mm x 0.95mm | lm | 3.32 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Strap Fix Tensioner | each | 3.62 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Triple Grip, Left Hand | each | 0.8 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Triple Grip, Right Hand | each | 0.8 | 50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
| Apron Fashing, 3800mm | len | 72.03 | 50112 - ROOF & ROOF PLUMBING
| Barge Capping, 5800mm | len | 97.44 | 50112 - ROOF & ROOF PLUMBING
| Fascia Clip | each | 2.87 | 50112 - ROOF & ROOF PLUMBING
| Fascia, 5800mm | len | 151.06 | 50112 - ROOF & ROOF PLUMBING
| Fixing, 1/8" x 3/8" Aluminum Blind Rivets | each | 0.07 | 50112 - ROOF & ROOF PLUMBING
| Fixing, 12G - 14 x 50mm HEX Head with Rubber Washer, Class 4, Self Drilling Screw | each | 0.18 | 50112 - ROOF & ROOF PLUMBING
| PVC 65°Elbow | each | 1.67 | 50112 - ROOF & ROOF PLUMBING
| PVC 90°Elbow | each | 1.67 | 50112 - ROOF & ROOF PLUMBING
| PVC Conversion Joint for Downspout | each | 1.71 | 50112 - ROOF & ROOF PLUMBING
| PVC Downspout | each | 36.31 | 50112 - ROOF & ROOF PLUMBING
| PVC Downspout Clip | each | 0.62 | 50112 - ROOF & ROOF PLUMBING
| PVC Downspout Connector | each | 1.6 | 50112 - ROOF & ROOF PLUMBING
| PVC Drop Outlet | each | 4.94 | 50112 - ROOF & ROOF PLUMBING
| PVC Endcap Left | each | 2.16 | 50112 - ROOF & ROOF PLUMBING
| PVC Endcap Right | each | 2.16 | 50112 - ROOF & ROOF PLUMBING
| PVC Gutter Hanger A | each | 0.62 | 50112 - ROOF & ROOF PLUMBING
| PVC Gutter Hanger U | each | 1.39 | 50112 - ROOF & ROOF PLUMBING
| PVC Gutter Joiner | each | 3.66 | 50112 - ROOF & ROOF PLUMBING
| PVC Rain Gutter | len | 36.31 | 50112 - ROOF & ROOF PLUMBING
| Ridge Capping, 5800mm | len | 216.02 | 50112 - ROOF & ROOF PLUMBING
| Roof Cladding, Corrugated, G550, AZ150, 3050mm x 762mm | len | 72.59 | 50112 - ROOF & ROOF PLUMBING
| Roof Cladding, Corrugated, G550, AZ150, 3650mm x 762mm | len | 86.87 | 50112 - ROOF & ROOF PLUMBING
| Roof Cladding, Corrugated, G550, AZ150, 3750mm x 762mm | len | 89.25 | 50112 - ROOF & ROOF PLUMBING
| Roof Cladding, Corrugated, G550, AZ150, 4450mm x 762mm | len | 105.91 | 50112 - ROOF & ROOF PLUMBING
| Roof Infill Strip | m | 2.2 | 50112 - ROOF & ROOF PLUMBING
| Special Glue for PVC Gutter | each | 5.01 | 50112 - ROOF & ROOF PLUMBING
| Aluminium External Corner Soaker, 230mm | len | 3.32 | 50113 - EXTERNAL CLADDING
| Fixing, 12G - 14 x 20mm Countersunk Head, Self Drilling Screw | each | 0.07 | 50113 - EXTERNAL CLADDING
| PVC H Mould Joiner, External Lining, 7.5mm x 230mm | len | 0.42 | 50113 - EXTERNAL CLADDING
| Soffit Flashing¦ Colorbond Soffit Flashing, 5800mm_Surfmist | len | 57.13 | 50113 - EXTERNAL CLADDING
| Stud Clips, Hot Dip Galvanized | each | 0.52 | 50113 - EXTERNAL CLADDING
| Weatherboard, Middle Density, 4200mm x 230mm x 7.5mm | len | 18.02 | 50113 - EXTERNAL CLADDING
| 150mm x 505mm x 6mm thk Clear Louvre Glass | each | 4.41 | 50114 - DOORS, WINDOWS & GLAZINGS
| 150mm x 505mm x 6mm thk Frosted Louvre Glass | each | 4.41 | 50114 - DOORS, WINDOWS & GLAZINGS
| 16Ø Plain Round bar, Galvanized_1200mm | len | 16.8 | 50114 - DOORS, WINDOWS & GLAZINGS
| Deadbolt Lock Set, Stainless Steel, Satin Finish, Single Cylinder | each | 14.89 | 50114 - DOORS, WINDOWS & GLAZINGS
| Door Stop, Half Moon, Floor Mounted | each | 3.9 | 50114 - DOORS, WINDOWS & GLAZINGS
| Door, Hollow Core, 2040mm x 720mm x 35mm | each | 273.87 | 50114 - DOORS, WINDOWS & GLAZINGS
| Door, Hollow Core, 2040mm x 820mm x 35mm | each | 294.2 | 50114 - DOORS, WINDOWS & GLAZINGS
| Door, Solid Core, 2040mm x 920mm x 35mm | each | 351.42 | 50114 - DOORS, WINDOWS & GLAZINGS
| Entrance Lock Set, Stainless Steel, Satin Finish, Tubular Knob | each | 13.88 | 50114 - DOORS, WINDOWS & GLAZINGS
| Fixing ¦ 10G - 24 x 40mm Countersunk, DP self drilling screw | each | 0.1 | 50114 - DOORS, WINDOWS & GLAZINGS
| Flashing ¦ Door Head Flashing, 1000mm_Surfmist | len | 10.08 | 50114 - DOORS, WINDOWS & GLAZINGS
| Flashing ¦ Door Side Flashing, 2100mm_Surfmist | len | 21.17 | 50114 - DOORS, WINDOWS & GLAZINGS
| Flashing ¦ Window Head Flashing, 1300mm_Surfmist | len | 12.1 | 50114 - DOORS, WINDOWS & GLAZINGS
| Flashing ¦ Window Head Flashing, 700mm_Surfmist | len | 6.25 | 50114 - DOORS, WINDOWS & GLAZINGS
| Flashing ¦ Window Side Flashing, 1200mm_Surfmist | len | 12.1 | 50114 - DOORS, WINDOWS & GLAZINGS
| Flashing ¦ Window Side Flashing, 1850mm_Surfmist | len | 18.65 | 50114 - DOORS, WINDOWS & GLAZINGS
| Flashing ¦ Window Side Flashing, 800mm_Surfmist | len | 8.06 | 50114 - DOORS, WINDOWS & GLAZINGS
| Hinge, Fixed Pin, Stainless Steel,100mm x 75mm x 2.5mm | each | 13.04 | 50114 - DOORS, WINDOWS & GLAZINGS
| Louver Frame, 5blades | pairs | 34.65 | 50114 - DOORS, WINDOWS & GLAZINGS
| Louver Frame, 7blades | pairs | 48.51 | 50114 - DOORS, WINDOWS & GLAZINGS
| Privacy Lock Set, Stainless Steel, Satin Finish, Tubular Knob | each | 13.78 | 50114 - DOORS, WINDOWS & GLAZINGS
| Timber Door Jamb ¦ 2100mmH x 1000mmW | each | 197.49 | 50114 - DOORS, WINDOWS & GLAZINGS
| Timber Door Jamb ¦ 2100mmH x 800mmW | each | 185.78 | 50114 - DOORS, WINDOWS & GLAZINGS
| Timber Door Jamb ¦ 2100mmH x 900mmW | each | 191.64 | 50114 - DOORS, WINDOWS & GLAZINGS
| Timber Frame Window ¦ 800 x 620mm, 40mm thick | each | 127.18 | 50114 - DOORS, WINDOWS & GLAZINGS
| Timber Framed Window ¦ 1080 x 1200mm, 40mm thick | each | 234.71 | 50114 - DOORS, WINDOWS & GLAZINGS
| Timber Framed Window ¦ 1850 x 1200mm, 40mm thick | each | 379.46 | 50114 - DOORS, WINDOWS & GLAZINGS
| Window Mesh¦ Fly Screen | m2 | 7.3 | 50114 - DOORS, WINDOWS & GLAZINGS
| Window Strips ¦ 12 x 38 x 2400mm Timber | len | 14.55 | 50114 - DOORS, WINDOWS & GLAZINGS
| Aluminium Floor Trim, L Angle, 900mm | each | 16.7 | 50115 - INTERNAL LININGS & FINISHES
| Ceramic Tiles, 150mm x150mm | m2 | 29.5 | 50115 - INTERNAL LININGS & FINISHES
| Ceramic Tiles, 300mm x 300mm, Non-Slip | m2 | 42.74 | 50115 - INTERNAL LININGS & FINISHES
| Fibre Cement Sheet, 2400mm x 1200mm x 18mm | each | 100.59 | 50115 - INTERNAL LININGS & FINISHES
| Fibre Cement Sheet, 2400mm x 1200mm x 6mm | each | 30.26 | 50115 - INTERNAL LININGS & FINISHES
| Fibre Cement Sheet, 2700mm x 1200mm x 6mm | each | 38.4 | 50115 - INTERNAL LININGS & FINISHES
| Fixing, 10G - 24 x 40mm Countersunk Head, Zinc Plated, Self Drilling Screw | each | 0.1 | 50115 - INTERNAL LININGS & FINISHES
| Fixing, 6G - 18 x 25mm Bugle Head, Zinc Plated, Self Drilling Screw | each | 0.03 | 50115 - INTERNAL LININGS & FINISHES
| Flexible Tile Adhesive, 20 kg | each | 120.38 | 50115 - INTERNAL LININGS & FINISHES
| PVC Corner Mould, External Joint, 6mm x 2700mm | len | 6.47 | 50115 - INTERNAL LININGS & FINISHES
| PVC Corner Mould, Internal Joint, 6mm x 2700mm | len | 6.47 | 50115 - INTERNAL LININGS & FINISHES
| PVC H Mould Joiner, Internal Lining, 6mm x 2400mm | len | 3.9 | 50115 - INTERNAL LININGS & FINISHES
| PVC H Mould Joiner, Internal Lining, 6mm x 2700mm | len | 4.38 | 50115 - INTERNAL LININGS & FINISHES
| Stud Adhesive, Water-based Acyrlic, 4 Litre | each | 96.25 | 50115 - INTERNAL LININGS & FINISHES
| Vinyl Floor Plank, 1220mm x 150mm x 2mm | m2 | 21.5 | 50115 - INTERNAL LININGS & FINISHES
| Vinyl Plank Adhesive, Water-based Acyrlic, 15 Litre | each | 580.96 | 50115 - INTERNAL LININGS & FINISHES
| Aqua Prime White, 5L - Metal Surfaces | bucket | 190.95 | 50116 - PAINTING
| Koramel H2O Base1, 5L - Architraves, Skirting, Cornice and Door & Window Jambs | bucket | 175.5 | 50116 - PAINTING
| Koramel H2O Base1, 5L - Door Panel | bucket | 175.5 | 50116 - PAINTING
| Koramel H2O Base2, 5L - Architraves, Skirting, Cornice and Door & Window Jambs | bucket | 176.6 | 50116 - PAINTING
| Koramel H2O Base2, 5L - Door Panel | bucket | 176.6 | 50116 - PAINTING
| Koramel H2O Base2, 5L - Metal Surfaces | bucket | 176.6 | 50116 - PAINTING
| Korever Base 2, 5L - External Ceiling | bucket | 86.29 | 50116 - PAINTING
| Korever Base 2, 5L - External Wall | bucket | 86.29 | 50116 - PAINTING
| VinylGlow Base 2, 15L - Internal Wall | bucket | 239.4 | 50116 - PAINTING
| VinylGlow Base 2, 5L - Internal Ceiling | bucket | 86.29 | 50116 - PAINTING
| Wall Sealer 100 White, 18L - Internal Wall | bucket | 148.77 | 50116 - PAINTING
| Wall Sealer 100 White, 5L - Internal Ceiling | bucket | 45.34 | 50116 - PAINTING
| Wall Sealer 500 White, 5L - External Ceiling | bucket | 73.13 | 50116 - PAINTING
| Wall Sealer 500 White, 5L - External Wall | bucket | 73.13 | 50116 - PAINTING
| Brass Gate Valve Female/Female 1" FI | each | 38.33 | 50117 - HYDRAULICS
| Brass Gate Valve Female/Female 1/2" FI | each | 21.91 | 50117 - HYDRAULICS
| Brass Swing Check Valve 1" | each | 37.84 | 50117 - HYDRAULICS
| Brass Swing Check Valve 1/2" | each | 27.41 | 50117 - HYDRAULICS
| Brass Threaded Nipple Male 1" MI | each | 8.62 | 50117 - HYDRAULICS
| Brass Threaded Nipple Male 1/2" MI | each | 4.46 | 50117 - HYDRAULICS
| Crimper | each | 469.57 | 50117 - HYDRAULICS
| Dektite Rubber 65mm | each | 49.42 | 50117 - HYDRAULICS
| Flexible Hose 1/2"F x 1/2"F x 400mm | each | 13.14 | 50117 - HYDRAULICS
| Hanging Clip for 50mm UPVC Pipe | each | 11.48 | 50117 - HYDRAULICS
| PEX Equal Elbow 16mm x 16mm | each | 8.62 | 50117 - HYDRAULICS
| PEX Equal Elbow 25mm x 25mm | each | 14.68 | 50117 - HYDRAULICS
| PEX Fixed Straight Adapter Male Thread 16 x 1/2" MI | each | 8.7 | 50117 - HYDRAULICS
| PEX Fixed Straight Adapter Male Thread 25 x 1" MI | each | 15.38 | 50117 - HYDRAULICS
| PEX Pipe 16mm | m | 2.71 | 50117 - HYDRAULICS
| PEX Pipe 25mm | m | 5.63 | 50117 - HYDRAULICS
| PEX Reducing Coupling 25mm x 16mm | each | 10.33 | 50117 - HYDRAULICS
| PEX Stopper 16mm | each | 4.94 | 50117 - HYDRAULICS
| PEX Stopper 25mm | each | 6.54 | 50117 - HYDRAULICS
| PEX Straight Coupling 16mm x 16mm | each | 8.14 | 50117 - HYDRAULICS
| PEX Straight Coupling 25mm x 25mm | each | 9.74 | 50117 - HYDRAULICS
| PEX T-Piece Reduced Centre 25mm x 25mm x 16mm | each | 22.22 | 50117 - HYDRAULICS
| PEX Winged Back Elbow Male Thread 16mm x 1/2” x 65mm MI | each | 15.3 | 50117 - HYDRAULICS
| PVC Heavy Duty Clear Cement 500ml | each | 6.64 | 50117 - HYDRAULICS
| PVC Priming Fluid Red, 500ml | each | 32 | 50117 - HYDRAULICS
| SS Floor Grate 100mm | each | 19.02 | 50117 - HYDRAULICS
| Saddle Clip 25mm | each | 1.81 | 50117 - HYDRAULICS
| Shower Assembly Right Angle 8" | each | 75.66 | 50117 - HYDRAULICS
| Stop Cock Female - Male with Back Plate 1/2"F x 1/2"F MI Right Angle | each | 17.68 | 50117 - HYDRAULICS
| UPVC 45° Plain Bend F/F 100mm | each | 6.57 | 50117 - HYDRAULICS
| UPVC 45° Plain Bend F/F 50mm | each | 0.62 | 50117 - HYDRAULICS
| UPVC 88° Plain Bend F/F 100mm | each | 4.18 | 50117 - HYDRAULICS
| UPVC 88° Plain Bend F/F 50mm | each | 0.87 | 50117 - HYDRAULICS
| UPVC 88° Plain Junction F/F 100mm | each | 5.29 | 50117 - HYDRAULICS
| UPVC Combination S&P Trap 40mm | each | 5.08 | 50117 - HYDRAULICS
| UPVC Combination S&P Trap 50mm | each | 7.17 | 50117 - HYDRAULICS
| UPVC DWV Pipe 100mm X 5.8m | len | 63.27 | 50117 - HYDRAULICS
| UPVC DWV Pipe 40mm X 5.8m | len | 16.07 | 50117 - HYDRAULICS
| UPVC DWV Pipe 50mm X 5.8m | len | 23.2 | 50117 - HYDRAULICS
| UPVC Dome Collar & Grate 100mm | each | 2.68 | 50117 - HYDRAULICS
| UPVC Floor Waste Gully F/F 100mm | each | 9.39 | 50117 - HYDRAULICS
| UPVC Four Way Riser F/F 100mm x 50mm x 50mm x 50mm x 40mm | each | 4.42 | 50117 - HYDRAULICS
| UPVC Inspection Opening with Cap F/F 100mm | each | 8.21 | 50117 - HYDRAULICS
| UPVC Pan Collar 100mm | each | 5.81 | 50117 - HYDRAULICS
| UPVC Reducing Socket 100 x 50mm | each | 1.25 | 50117 - HYDRAULICS
| UPVC Round Floor Grate 100mm | each | 58.74 | 50117 - HYDRAULICS
| UPVC Saddle Clip 100mm | each | 0.73 | 50117 - HYDRAULICS
| UPVC Saddle Clip 50mm | each | 3.41 | 50117 - HYDRAULICS
| UPVC Sink Connector 50mm | each | 26 | 50117 - HYDRAULICS
| UPVC Straigth Coupling 100mm | each | 2.12 | 50117 - HYDRAULICS
| UPVC Straigth Coupling 50mm | each | 0.52 | 50117 - HYDRAULICS
| UPVC Threaded Adaptor 50mm x 2" Female | each | 0.44 | 50117 - HYDRAULICS
| UPVC Vent Cowl 50mm | each | 1.22 | 50117 - HYDRAULICS
| Fixing, 10G - 14 x 16mm Wafer Head, Square, Class 3, Self Drilling Screw | each | 0.03 | 50118 - INSULATION
| Insulation Tape, 48mm x 50metres | each | 46.28 | 50118 - INSULATION
| Malthoid, 90mm x 20 metres | each | 44.72 | 50118 - INSULATION
| Mesh Chicken Wire, 50x1x1.8x50 | roll | 343.59 | 50118 - INSULATION
| Reflective Aluminium Foil Insulation, 1350mm x 60m (81sqm/roll) | roll | 197.73 | 50118 - INSULATION
| 1-way Junction Box 20mmdia | pcs | 1.13 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| 1.5mm Flat TPS Cable, 2 Core & Earth, PVC | meters | 3.58 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| 1.5mm Flat TPS Cable, 2 Core, PVC | meters | 2.68 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| 10W LED Floodlight, Weatherproof, 6500K, White | pcs | 16.59 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| 12W LED Oyster Light, Round, 6500K, White | pcs | 22.33 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| 12W LED Oyster Light, Round, Weatherproof, 6500K, White | pcs | 22.43 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| 16mm Flat TPS Cable, 2 Core & Earth, PVC | meters | 34.3 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| 16mm Flat TPS Cable, 2 Core, PVC | meters | 29.53 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| 18W LED Oyster Light, Round, 6500K, White | pcs | 27.44 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| 2.5mm Flat TPS Cable, 2 Core & Earth, PVC | meters | 5.84 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| 6mm Building Wire, PVC, Green/Yellow | meters | 4.8 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| 6mm2 cable lug x 6mm hole | pcs | 0.55 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Adaptable Box 75 x 75 x 50mm | pc | 2.43 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Ceiling Fan, 4 blade, 1200mm, White (complete with regulator, fixings and hooks) | sets | 216.52 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Coach Screw, 10mmdia x 60mm for mounting ceiling fans | pcs | 0.28 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Conduit, Light Duty, 20mm x 4 metres | length | 5.34 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Conduit, Light Duty, 25mm x 4 metres | lengths | 7.38 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Conduit, Light Duty, 32mm x 4 metres | lengths | 11.48 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Coupling, 20mm | pc | 0.67 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Coupling, 25mm | pcs | 1.14 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Coupling, 32mm | pcs | 1.57 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Double GPO, Power Point, 10A | pcs | 6.89 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Earth Rod with Clip, 13mm diameter, 1400mm | pc | 35.48 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Exhaust Fan, Wall Mount, 150mm | pcs | 43.82 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Fixing, 8G x 16mm Wafer Head, for Metal, Class 3, Hot Dip Galvanzied, Self Drilling Screw | each | 0.03 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Fixing, 8G x 40mm Wafer Head, for Metal, Class 3, Hot Dip Galvanzied, Self Drilling Screw | each | 0.03 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Grommet, Plastic, 35mm diameter | pcs | 1.05 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Inspection Tee, 25mmdia, LD, grey | pc | 0.95 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Insulation Tape, PVC, Black, 18mm x 20metres | rolls | 1.42 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Insulation Tape, PVC, Red, 18mm x 20metres | rolls | 1.42 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Insulation Tape, PVC, Yellow&Green, 18mm x 20metres | roll | 1.42 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Light Switch, 1 Gang, | pcs | 3.76 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Light Switch, 2 Gang, | pcs | 6.33 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Light Switch, 3 Gang, | pc | 7.01 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Load Centre, 12 Pole, Surface Mount, PV, Transparent Door | pc | 36 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Mains Connection Box, 1-phase, 16 mm2 | pc | 21.91 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Meter Box, Galvanized, Weatherproof, 300mm x 300mm x 250mm | pc | 146.09 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Miniature Circuit Breaker, 1P, 63A, 10kA, C Curve | pcs | 7.82 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Mounting Bracket, Vertical/Horizontal, Pre-galvanized Steel | pcs | 0.94 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Plain to Screw Adaptor, 20mm, with Lock Ring | pc | 0.2 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Plain to Screw Adaptor, 25mm, with Lock Ring | pcs | 0.49 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Plain to Screw Adaptor, 32mm, with Lock Ring | pcs | 0.77 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| RCBO, 10A, 30mA, 1P+N, C Curve, Slim Type | pcs | 32.34 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| RCBO, 16A, 30mA, 1P+N, C Curve, Slim Type | pcs | 32.34 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Saddle, PVC, 20mm | pcs | 0.08 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Saddle, PVC, 25mm | pcs | 0.14 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Saddle, PVC, 32mm | pcs | 0.21 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Single GPO, Power Point, 10A | pcs | 5.5 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Single Screw Connector | pcs | 0.28 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Smoke Alarm, Mains Powered, 240V AC, with 9V DC Battery Backup | pcs | 19.82 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Weatherproof Double GPO, Power Point, 10A, IP53 | pc | 16.18 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| Weatherproof Single GPO, Power Point, 10A, IP53 | pc | 13.04 | 50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
| 1015mm Floor Joists | len | 23.94 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| 37° Slope Balustrade Panel 503mm x 4000mm, 12mm Round Bars | each | 281.74 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Adjustable Short Tee, 42.4mm OD (Part No: 129, Type C) | each | 9.53 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Assist Elbow, 42.4mm OD (Part No: DDA-721) | each | 6.92 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
50124-AIA-004 | Assist Inline Adjustable Knuckle, 42.4mm OD (Part No: DDA-764) | each | 12.07 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Base Flange, 42.4mm OD (Part No: 131, Type C) | each | 7.9 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Double Fixing Bracket, 42.4mm OD (Part No: 198, Type C) | each | 6.12 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Fixing, M12 x 40mm Bolt & Nut with Washer, Hex Head, Class 4.6, Hot Dip Galvanized | each | 2.61 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Fixing, M12 x 75mm Sleeve Anchors, HEX Head, Class 4.6, Hot Dip Galvanised | each | 1.48 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
50111-FLW-001 | Fixing, M8 x 19 X 1.6mm Flat Washer, Class 4.6, Hot Dip Galvanized | each | 0.62 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Fixing, M8 x 60mm Bolt & Nut, Cup Head, Class 4.6, Hot Dip Galvanized | each | 1.04 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Floor Panel, 4kPa, 1150 x 1150mm | pair | 177.39 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
50107-FLP-002 | Floor Panel, 4kPa, 1150mm | pairs | 177.39 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Floor Panel, 4kPa, 2400mm | pairs | 469.57 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Hardwood Stair Treads, 125mm x 50mm, 1200mm | each | 27.79 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
50124-GSP-001 | Hot Dip Galvanized Steel Pipe 40mm OD x 5800mm | len | 129.67 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Internal Expanding Joint, 42.4mm OD (Part No: 150, Type C) | each | 6.12 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Mash Panel Clip Single, 42.4mm OD (Part No: 170, Type C) | each | 2.58 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
50124-MPC-003 | Mesh Panel Clip Single, 42.4mm OD (Part No: 170, Type C) | each | 2.58 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| No Slope Balustrade Panel 695mm x 4000mm, 12mm Round Bars | each | 286.96 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
50107-PHA-001 | Pier Head, Type A, Corner, Q340, HDG | each | 88.07 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
50124-PEC-003 | Plastic End Cap, 42.4mm OD (Part No: 133, Type C) | each | 0.45 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Railing Base Flange, 42.4mm OD (Part No: 132, Type C) | each | 13.84 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| SHS Steel Post, 75mm x 75mm x 4mm, 2.5 metres | each | 98.46 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Saddle Bracket, (Part No: DDA-4) | each | 11.23 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Saddle Bracket, 42.4mm OD (Part No: DDA-751M) | each | 4.49 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Short Tee, 42.4mm OD (Part No: 101, Type C) | each | 6.54 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
50124-SMS-003 | Single Male Swivel, 42.4mm OD (Part No: 173M, Type C) | each | 11.23 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| Stair Stringer (STR-1), Prefabricated Complete Set (L/R), 5 Riser | Pair | 605.22 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
50124-STS-002 | Stair Stringer (STR-2), Prefabricated Complete Set (L/R), 9 Riser | Pair | 1053.91 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
50124-TSC-004 | Two Socket Cross, 42.4mm OD (Part No: 119, Type C) | each | 8.87 | 50124 - STAIRS, RAMPS, & BALLUSTRADES
| 16Ø Plain Round bar, Galvanized_620mm | len | 90.29 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Bamboo Bench Top, 1208mm Wx 620mmD, 25mm thickness | each | 148.7 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Bamboo Bench Top, 2100mmW x 620mmD, 25mm thickness | each | 250.43 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Bamboo Bench Top, 920mm Wx 620mmD, 25mm thickness | each | 106.96 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Base Cabinet, Chipboard, White, 250mmW x 561mmD x 720mmH | each | 190.43 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Base Cabinet, Chipboard, White, 450mmW x 561mmD x 720mmH | each | 218.09 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Base Cabinet, Chipboard, White, 900mmW x 561mmD x 720mmH | each | 341.74 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Basin Mixer Tap, Chrome Finish, DR Brass Body, Ceramic cartridge with Watermark+WELS certificate | each | 129.7 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Bathroom Mirror, Flat Edge, 900mm x 600mm | each | 77.98 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Colorbond Corner Flashing, 2400mm_Surfmist | len | 75.75 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Corner Base Cabinet, Chipboard, White, 900x 900mmW x 561mmD x 720mmH | each | 498.26 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Cornice ¦ 35 x 35 x 2400mm Timber Cornice | len | 14.7 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Door Architrave ¦ 12 x 75 x 2400mm Timber | len | 18.9 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Drawer Cabinet, Chipboard, White, 450mmW x 561mmD x 720mmH | each | 247.82 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Fixing, 10G - 16 x 25mm HEX Head with Rubber Washer, Class 3, Self Drilling Screw | each | 0.07 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Fixing, M12 x 75mm Sleeve Anchor, HEX Head, Class 4.6, Hot Dip Galvanised | each | 1.46 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Flashing ¦ Door Head Flashing, 900mm_Surfmist | len | 10.08 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Kickboard, 2400mm | len | 52.52 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Kitchen Mixer Tap, Chrome Finish, DR Brass Body, Ceramic cartridge with Watermark+WELS certificate | each | 129.14 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Kithcen Sink with Drainer, Stainless Steel, 1.75 EB Left Hand Bowl, 1 Tap Hole, 1080mm x 480mm x 190mm | each | 423.66 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Laundry Assembly Right Angle 8" | each | 60 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Laundry Mixer Tap, Chrome Finish, DR Brass Body, Ceramic cartridge with Watermark+WELS certificate | each | 104.07 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Laundry Sink with Drainer, Stainless Steel, 1160mm x 500mm x 1000mm | each | 98.37 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Light Gauge Steel Framing GF Wall, 0.75mm BMT, G550, Z275 | m | 9.02 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Rangehood Wall Cabinet, Chipboard, White, 600mmW x 299mmD x 460mmH | each | 211.82 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Shower Base, Anti-slip, Centre Outlet, 900x900x85mm | each | 273.67 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Shower Base, Anti-slip, Rear Outlet, 900x1200x85mm | each | 323.2 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Shower Curtain Rail, Adjustable, 700-1200mm | each | 29.84 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Shower Set, Chrome Finish, DR Brass Body with Watermark +WELS certificate | each | 139.06 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Single Towel Rail, Stainless Steel, 600mm | each | 49.36 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Skirting ¦ 12 x 75 x 2400mm Timber Skirting | len | 18.9 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Soap Holder, Stainless Steel | each | 41.11 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Soffit Cladding, 0.42 BMT, 2320mm x 850mm | len | 84.7 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Toilet Roll Holder, without cover, Stainless Steel, 185mm x 95.5mm | each | 31.2 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Toilet Suite, S Trap, (compete with cistern, seat and connectors) | each | 224.16 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Transition Flashing ¦ Colorbond Transition Flashing, 3000mm_Surfmist | len | 84.17 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Vanity on Legs, Ceremic Top, 1 Tap Hole, 600mm x 480mm x 890mm | each | 446.61 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Wall Cabinet, Chipboard, White, 450mmW x 299mmD x 720mmH | each | 180 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Washing Machine Tap, Chrome Finish, DR Brass Body, Ceramic cartridge with Watermark+WELS certificate | each | 104.07 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| Window Architrave ¦ 12 x 75 x 2400mm Timber | len | 18.9 | 50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
| F72 Mesh - 5.8m x 2.2m | sheet | 258 | 50137 - CONSUMABLES
| Gyprock Base Coat 45 | bag | 110 | 50137 - CONSUMABLES
| No more Gaps | tube | 18 | 50137 - CONSUMABLES
| PVC Tile Trims Corners | len | 99 | 50137 - CONSUMABLES
| PVC Tile Trims Straight Edge | len | 99 | 50137 - CONSUMABLES
| Polyurethane Sealant Sika Flex | tube | 72 | 50137 - CONSUMABLES
| Roof and Gutter Silicon | tube | 37.99 | 50137 - CONSUMABLES
| Tile Grout 10kg (White) | bag | 44.37 | 50137 - CONSUMABLES
| Tile Grout 20kg (Grey) | bag | 83.94 | 50137 - CONSUMABLES
| Tile Spacer 2mm | packet | 3.5 | 50137 - CONSUMABLES
| Tile Spacer 4mm | packet | 26.72 | 50137 - CONSUMABLES
| Waterproofing Membrane 15L | bucket | 500 | 50137 - CONSUMABLES
| Welding Rod 2.0MM 5KG BOX | kg | 19 | 50137 - CONSUMABLES
| Y12 bars x 5.8m | len | 25.92 | 50137 - CONSUMABLES

## Category Summary
Items by Category
Category | Item Count | Rate Range (PGK)
50106 - TIMBER & WPC | 4 | K 0.07 – K 73.50
50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS) | 32 | K 0.03 – K 469.57
50112 - ROOF & ROOF PLUMBING | 26 | K 0.07 – K 216.02
50113 - EXTERNAL CLADDING | 6 | K 0.07 – K 57.13
50114 - DOORS, WINDOWS & GLAZINGS | 29 | K 0.10 – K 379.46
50115 - INTERNAL LININGS & FINISHES | 16 | K 0.03 – K 580.96
50116 - PAINTING | 14 | K 45.34 – K 239.40
50117 - HYDRAULICS | 53 | K 0.44 – K 469.57
50118 - INSULATION | 5 | K 0.03 – K 343.59
50119 - ELECTRICAL SERVICES - CABLES & CONDUITS | 52 | K 0.03 – K 216.52
50124 - STAIRS, RAMPS, & BALLUSTRADES | 31 | K 0.45 – K 1053.91
50129 - FURNITURE FITTINGS & EQUIPMENT (FFE) | 40 | K 0.07 – K 498.26
50137 - CONSUMABLES | 14 | K 3.50 – K 500.00
TOTAL | 322