## Standard BOQ
STANDARD HOUSE MODEL — G303 WITH LAUNDRY (HIGHSET)
Standard BOQ — Approved Baseline from 25.07.2025 BOQ ¦ Version: 2.0 ¦ Date: 2026-03-19 ¦ House Type: G303 With Laundry
BLUE cells = rates to be added from your rate library. Standard Qty now populated from the approved standard-house BOQ.
Stock Code | Description | Unit | Standard Qty | Rate (PGK) | Amount (PGK) | Confidence | Source | Notes
50106 - WPC
50106-TIS-001 | Timber Skirting ¦ 25 x 75 x 2400mm Timber | len | 26 |  |  | High | Approved BOQ | Baseline standard-house quantity
50106-TIS-001 | Timber Architrave ¦ 12 x 75 x 2400mm Timber | len | 21 |  |  | High | Approved BOQ | Baseline standard-house quantity
50106-TID-002 | Timber Decking ¦ 25 x 100 x 3000mm Timber | len | 48 |  |  | High | Approved BOQ | Baseline standard-house quantity
50106-TIS-001 | Timber Skirting ¦ 25 x 75 x 2400mm Timber | len | 33 |  |  | High | Approved BOQ | Baseline standard-house quantity
50106-TIC-001 | Timber Cornice ¦ 25 x 25 x 2400mm Timber Cornice | each | 33 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-013 | Fixing ¦ 8G - 10 x 50 Countersunk DP self drilling screw | each | 1200 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107 - STRUCTURAL & BASE STEEL & FOOTINGS (POSTS)
50107-FRA-001 | Framecad Wall ¦ LGS C89, 0.755BMT, G550, Z275, meter rate | m | 753 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-FRA-001 | Framecad Truss ¦ LGS C89, 0.75BMT, G550, Z275, meter rate | m | 490 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-FCP-001 | 2398 J x 2998mm B, 1.8KPa Standard Floor Panel | set | 9 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Floor Bearer 1.8Kpa, 2998mm | Pair | 9 |  |  | High | Approved BOQ | Derived from approved BOQ formula =C19
| Floor Joist C150, 2268mm | len | 81 |  |  | High | Approved BOQ | Derived from approved BOQ formula =C20*9
| 2398 J x 2998mm B, 4KPa Standard Floor Panel | set | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Floor Bearer 4Kpa, 2998mm | Pair | 2 |  |  | High | Approved BOQ | Derived from approved BOQ formula =C22
| Floor Joist C150, 2268mm | len | 22 |  |  | High | Approved BOQ | Derived from approved BOQ formula =C23*11
50107-SHS-001 | Steel Post ¦ 75 x 4mm SHS, Q345, HDG600, 3.6m | len | 15 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-SHS-001 | Steel Post ¦ 75 x 4mm SHS, Q345, HDG600, 5.8m | len | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-SHS-002 | Steel Beam ¦ 75 x 4mm SHS, Q345, HDG600, 4.8m | len | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-SHS-003 | Steel Beam ¦ 75 x 4mm SHS, Q345, HDG600, 2.5m | len | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-ANC-001 | HDG Support Angle VA1 ¦ 75 x 75 x 3mm | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-ANC-004 | Verandah Roof to Wall Tie Down ¦ Continuous 40 x 40mm Angle. 0.95BMT, G550, Z275 | m | 8 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-PIH-00A | PH (Corner) ¦ PHA Bracket, Q340, HDG | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-PIH-00B | PH (Central) ¦ PHB Bracket, Q340, HDG | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-PIH-00D | PH (Perimeter) ¦ PHD Bracket, Q340, HDG | each | 7 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-SHS-002 | Steel Beam ¦ 75 x 4mm SHS, Q345, HDG600, 4.8m | len | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-ANC-002 | HDG Support Angle VA2 ¦ 75 x 75 x 6mm | each | 11 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-ANC-003 | DB ¦ 40x40x3mm Angle Bracing - 3500mm | len | 12 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Post Bracing End Plate ¦ 50mm x 98mm x 147mm x 6mm Thk with 2- 14mm dia. hole | each | 24 |  |  | High | Approved BOQ | Derived from approved BOQ formula =C36*2
| Fixing ¦ M16 x 25mm Bolts with Nuts & Washer | each | 12 |  |  | High | Approved BOQ | Derived from approved BOQ formula =C36
50107-STR-001 | Roof Bracing ¦ 0.95 x 32mm Strap Brace 30 metre | lm | 90 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-STR-002 | Roof Bracing ¦ Bracing Tensioners | each | 15 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-BAT-002 | Roof Batten ¦ 41mm Top Hat, G550, Z275 5800mm | len | 48 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-BAT-002 | Roof Batten ¦ 41mm Top Hat, G550, Z275 5800mm | len | 36 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-BAT-001 | Ceiling Batten ¦ 20mm Top Hat, G350, Z275 5800mm | len | 38 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-ANC-007 | Triple Grip - Right ¦ Pryda Multi Grip 100 x 35 x 35 | each | 25 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-ANC-008 | Triple Grip - Left ¦ Pryda Multi Grip 100 x 35 x 35 | each | 25 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-GRO-001 | Accessories ¦ Grommet 35mm Dia | each | 200 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-ANC-017 | Accessories ¦ Fix Plate Connector G350t, Z275, 0.95BMT | each | 40 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-ANC-019 | Accessories ¦ Hold Down and Fix Washer G350t, Z275, 1.15BMT | each | 30 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-002 | Fixing ¦ 12G - 14 x 20mm, HEX Head, DP | each | 3500 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-HEX-001 | Fixing ¦ 12G - 24 x 45mm, HEX Head, DP | each | 400 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-004 | Fixing ¦ 12G - 24 x 38mm, HEX Head, DP | each | 400 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-005 | Fixing ¦ 10G - 18 x 19mm Flat Head, DP self drilling screw | each | 5500 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-007 | Fixing ¦ 10G - 16 x 16mm Wafer Head, DP self drilling screw | each | 250 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-BOL-007 | Fixing ¦ M12 x 75mm Sleeve Anchors, HEX Head, Galvanised | each | 10 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-BOL-025 | Fixing ¦ M10 x 25mm HEX Bolt & Nuts, Galvanised | each | 108 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-BOL-004 | Fixing ¦ M10 x 3.5 x 2.2mm Spring Washer, Galvanised | each | 108 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112 - ROOF & ROOF PLUMBING
50112-RCL-001 | Roof Cladding ¦ Custom Orb 4450mm, 0.42mm BMT, 762mm | len | 28 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-RCL-005 | Roof Cladding ¦ Custom Orb 3650mm, 0.42mm BMT, 762mm | len | 10 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-RCL-003 | Ridge Cap, 5800mm | len | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-RCL-002 | Barge Capping, 5800mm | len | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-FSH-001 | Apron Flashing, 3800mm | len | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-RCL-004 | Fascia, 5800mm | len | 10 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-RCL-016 | Fascia Clips | each | 80 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-PVG-001 | SL-01 ¦ PVC Rain Gutter & Downspout, 5800mm | len | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-PVG-002 | SL-02 ¦ PVC Endcap L/H | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-PVG-003 | SL-02 ¦ PVC Endcap R/H | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-PVG-004 | SL-03 ¦ PVC Gutter Joiner | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-PVG-005 | SL-08 ¦ PVC Drop Outlet | each | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-PVG-006 | SL-09 ¦ PVC Downspout | each | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-PVG-007 | SL-10 ¦ PVC Downspout Connector | each | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-PVG-008 | SL-12A ¦ PVC 65degree Elbow | each | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-PVG-009 | SL-12B ¦ PVC 90degree Elbow | each | 10 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-PVG-010 | SL-13 ¦ PVC Downspout "U" Clip | each | 25 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-PVG-011 | SL-14 ¦ PVC Gutter "A" Hanger | each | 33 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-PVG-012 | SL-14 ¦ PVC Gutter "U" Hanger | each | 33 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-PVG-013 | SL-22 ¦ Special Glue | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-RAC-001 | Bird Proofing Foam ¦ Bird Proofing Foam | m | 56 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-001 | Fixing ¦ 12G - 14 x 50mm HEX Head with C4 Rubber Washer | each | 1100 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-002 | Fixing ¦ 12G - 14 x 20mm HEX Head, DP | each | 600 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-011 | Fixing ¦ Blind Rivets Aluminum, 1/8" x 3/8" | each | 500 |  |  | High | Approved BOQ | Baseline standard-house quantity
50113 - EXTERNAL CLADDING
50113-WBC-001 | External Cladding ¦ Weather Board 7.5mm FC 230 x 4200mm | len | 132 |  |  | High | Approved BOQ | Baseline standard-house quantity
50106-TIC-001 | Timber Cornice ¦ 25 x 25 x 2400mm Quad Cornice | len | 10 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Soffit Flashing, 5800mm | len | 7 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-HMJ-002 | 7.5mm x 230mm PVC External H Joiner | len | 132 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-WCC-001 | Aluminum Weatherboard Corner Flashing, 230mm | len | 72 |  |  | High | Approved BOQ | Baseline standard-house quantity
50113-WBC-002 | Fixing ¦ Stud Clips | each | 1200 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-017 | Fixing ¦ 12G - 14 x 20mm Countersunk, DP self drilling screw | each | 1200 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-006 | Fixing ¦ 10G - 16 x 25mm HEX Head, DP, Neo C3 Washer Rubber | each | 200 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114 - DOORS, WINDOWS & GLAZINGS
50114-DSC-003 | Door ¦ 2040 x 920 x 35mm, SOLID CORE | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-DHC-003 | Door ¦ 2040 x 820 x 35mm, HOLLOW CORE | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-DHC-007 | Door ¦ 2040 x 720 x 35mm, HOLLOW CORE | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-DJA-003 | Door Frame ¦ Timber Door Frames 2100mmH x 1000mmW | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-DJA-006 | Door Frame ¦Timber Door Frames 2100mmH x 900mmW | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-DJA-007 | Door Frame ¦ Timber Door Frames 2100mmH x 800mmW | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-HIN-001 | Hinges ¦ Hinge; Fixed Pin 100 x 75 x 2.5mm | each | 13 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-DST-003 | Door Stop ¦ Rubber Door Stopper (A-290 Half Moon) | each | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-PRS-001 | Door Lock ¦ Door Privacy Set | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-ENS-001 | Door Lock ¦ Door Entrance Set | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-PAS-003 | Door Lock ¦ Single Cylinder Deadbolt | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-WFR-024 | Timber Window - A ¦ 1080 x 1200mm complete with louver frames, blades & security bars w/ Fly Screen | set | 8 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Timber Framed Window ¦ 1080 x 1200mm | each | 8 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Window Strips ¦ 12 x 38 x 2400mm Timber | len | 19 |  |  | High | Approved BOQ | Derived from approved BOQ formula =ROUNDUP((C104*1.1*3+C104*1.2*2)/2.4,0)
| 16Ø x 6M Plain Round bar, Galvanized | len | 14 |  |  | High | Approved BOQ | Derived from approved BOQ formula =ROUNDUP(1.3*8*C104/6,0)
| Fly Screen | m2 | 12 |  |  | High | Approved BOQ | Derived from approved BOQ formula =ROUNDUP(1.2*1.2*C104,0)
| 150mm x 505mm x 6mm thk Clear Louvre Glass | each | 112 |  |  | High | Approved BOQ | Derived from approved BOQ formula =C104*7*2
| Louver Frame, 7blades | pairs | 16 |  |  | High | Approved BOQ | Derived from approved BOQ formula =C104*2
50114-WFR-025 | Timber Window - B ¦ 800 x 620mm complete with louver frames, blades & security bars w/ Fly Screen | set | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Timber Frame Window ¦ 800 x 620mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Window Strips ¦ 12 x 38 x 2400mm Timber | len | 2 |  |  | High | Approved BOQ | Derived from approved BOQ formula =ROUNDUP((C111*0.8*2+C111*0.62*2)/2.4,0)
| 16Ø x 6M Plain Round bar, Galvanized | len | 1 |  |  | High | Approved BOQ | Derived from approved BOQ formula =ROUNDUP(0.7*6*C111/6,0)
| Fly Screen | m2 | 1 |  |  | High | Approved BOQ | Derived from approved BOQ formula =ROUNDUP(0.8*0.7*C111,0)
| 150mm x 505mm x 6mm thk Frosted Louvre Glass | each | 5 |  |  | High | Approved BOQ | Derived from approved BOQ formula =C111*5*1
| Louver Frame, 5blades | pairs | 1 |  |  | High | Approved BOQ | Derived from approved BOQ formula =C111
50114-WFR-027 | Timber Window - D ¦ 1850 x 1200mm complete with louver frames, blades & security bars w/ Fly Screen | set | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Timber Window Frame ¦ 1850 x 1200mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Window Strips ¦ 12 x 38 x 2400mm Timber | len | 4 |  |  | High | Approved BOQ | Derived from approved BOQ formula =ROUNDUP((C118*1.85*3+C118*1.2*3)/2.4,0)
| 16Ø x 6M Plain Round bar, Galvanized | len | 3 |  |  | High | Approved BOQ | Derived from approved BOQ formula =ROUNDUP(1.3*13*C118/6,0)
| Fly Screen | m2 | 3 |  |  | High | Approved BOQ | Derived from approved BOQ formula =ROUNDUP(1.2*1.85*C118,0)
| 150mm x 505mm x 6mm thk Clear Louvre Glass | each | 24 |  |  | High | Approved BOQ | Derived from approved BOQ formula =C118*12*2
| Louver Frame, 7blades | pairs | 2 |  |  | High | Approved BOQ | Derived from approved BOQ formula =C118*2
| Louver Frame, 5blades | pairs | 2 |  |  | High | Approved BOQ | Derived from approved BOQ formula =C118*2
50114-WLV-004 | Flashing ¦ Window Head Flashing, 620mm | len | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-WLV-005 | Flashing ¦ Window Head Flashing, 1200mm | len | 9 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Flashing ¦ Door Head Flashing, 1200mm | len | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Flashing ¦ Doo Side Flashing, 2200mm | len | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-008 | Fixing ¦ 10G - 24 x 40mm Countersunk, DP self drilling screw | each | 400 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115 - INTERNAL LININGS & FINISHES
50115-FCS-001 | FC Sheet Wall ¦ 6mm thk, 1200 x 2700 Sheet, AS2908.2 | each | 76 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-FCS-002 | FC Sheet Ceiling ¦ 6mm thk, 1200 x 2400 Sheet, AS2908.2 | each | 42 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-FCS-004 | FC Sheet Floor ¦ 18mm thk, 1200 x 2400 Sheet | each | 24 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-ADH-001 | Wall Stud Adhesive (4 lit) | each | 7 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-FLR-001 | Vinyl Floor Plank ¦ 2mm thk, 150x1220mm Vinyl Plank | m2 | 58 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-FLR-004 | Ceramic Tiles ¦ 600mm x 600mm Ceramic Non-Slip Floor Tiles | m2 | 5.76 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-FLR-014 | Ceramic Tiles ¦ 150 x150 Ceramic Wall Tiles (white) | m2 | 6 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-HMJ-003 | Internal lining Accessory ¦ PVC H Joiner 6mm, 2400mm | len | 62 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-HMJ-004 | Internal lining Accessory ¦ PVC H Joiner 6mm, 2700mm | len | 76 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-HMJ-006 | 6.0mm x 2700mm PVC Internal Capping, corner | len | 33 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-HMJ-007 | 6.0mm x 2700mm PVC External Capping, corner | len | 9 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-FLR-010 | Floor aluminum angle trim, 900mm | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-010 | Fixing ¦ 6G-18x25 BH, DP self drilling screw | each | 3600 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-008 | Fixing ¦ 10G - 24 x 40mm Countersunk, DP self drilling screw | each | 720 |  |  | High | Approved BOQ | Baseline standard-house quantity
50110-ADH-002 | Flexible Tile Adhesive- 20 kg | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-ADH-005 | Vinyl Plank Adhesive - 15 litre | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50117 - HYDRAULICS
50125-SCI-001 | PEX Straight Coupling Inline 16mm x 16mm | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-SCI-002 | PEX Straight Coupling Inline 25mm x 25mm | each | 8 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-RCC-002 | PEX Reducing Coupling 25 x 16mm | each | 9 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-RCC-003 | PEX Reducing Coupling 20 x 25mm | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-MSC-005 | PEX Straight Connector Male Thread Fixed Adaptor 16 x 1/2" MI | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-MSC-006 | PEX Straight Connector Male Thread Fixed Adaptor 20 x 3/4" MI | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-MSC-007 | PEX Straight Connector Male Thread Fixed Adaptor 25 x 1" MI | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-EEP-001 | PEX Equal Elbow 15 x 15mm | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-EEP-003 | PEX Equal Elbow 20 x 20mm | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-EEP-002 | PEX Equal Elbow 25 x 25mm | each | 15 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-WBE-001 | PEX Winged Back Elbow Male Thread Ext 65mm 15 x 1/2" x 65mm MI | each | 8 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PTP-002 | PEX T-Piece Reduced Centre 25 x 16 x 25mm | each | 6 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-003 | PEX T-Piece Reduced Center 25 x 20 x 25mm | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PVT-003 | PEX Tee 25mm | each | 6 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-ESP-001 | PEX Stopper Pipe End Plug 16mm | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-ESP-002 | PEX Stopper Pipe End Plug 25mm | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-SCA-001 | Shower Assembly 8" Right Angle | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-CCO-001 | Cistern Cock 16mm | each | 6 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-CCO-002 | Wall Plate 16mm | each | 8 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-GVF-003 | Brass Gate Valve F/F 1/2" FI | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-GVF-002 | Brass Gate Valve F/F 1" FI | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-GVF-001 | Brass Gate Valve F/F 3/4" FI | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-TNM-004 | Brass Threaded Nipple Male 1" MI | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-TNM-001 | Brass Threaded Nipple Male 1/2" MI | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-TNM-002 | Brass Threaded Nipple Male 3/4" MI | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-SCV-003 | Brass Swing Check Valve 1/2" | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-SCV-002 | Brass Swing Check Valve 1" | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-SCV-001 | Brass Swing Check Valve 3/4" | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PPX-001 | PEX Pipe 16mm | m | 10 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PPX-003 | PEX Pipe 20mm | m | 8 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PPX-002 | PEX Pipe 25mm | m | 50 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-SAC-002 | Saddle Clip 25mm | each | 15 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-SAC-001 | Sadde Clip 16mm | each | 20 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-SFG-002 | SS Floor Grate 100mm | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-FHO-001 | Flexible Hose 1/2"F x 1/2"F x 400mm | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-DWP-003 | PVC Pipe 100mm x 5800mm | len | 8 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-DWP-006 | PVC Pipe 65mm x 5800mm | len | 6 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-DWP-002 | PVC Pipe 50mm x 5800mm | len | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-DWP-001 | PVC Pipe 40mm x 5800mm | len | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PRS-011 | PVC Straigth Coupling 100mm | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PRS-014 | PVC Straigth Coupling 50mm | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-RCC-004 | PVC Reducing Coupling 65x50mm | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-RCS-001 | PVC Reducing Socket 100x65mm | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PSJ-001 | PVC Sweep Junction 100mm x 88degree | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PSJ-002 | PVC Sweep Junction 100mm x 45degree | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PLB-013 | PVC Plain Bend 100mm x 88degree | each | 8 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PLB-007 | PVC Cross Tee 100mmx45Deg | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PLB-012 | PVC Plain Bend 65mm x 88degree | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PLB-011 | PVC Plain Bend 50mm x 88degree | each | 6 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PLB-010 | PVC Plain Bend 40mm x 88degree | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PVT-002 | PVC Tee 65mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PVT-001 | PVC Tee 50mm | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-SHO-001 | PVC Plain Bend 50mm x 45degree | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PLB-026 | Inspection Opening 100mm | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-FWG-004 | PVC Gully Trap 100mm x 100mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PLB-032 | PVC Double Bowl Sink Connector 50mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-FWG-001 | PVC Floor Waste Gully 100mm x 65mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PVE-001 | PVC Vent Cowl 65mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PTC-003 | S&P Trap Combination 50mm | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PTC-002 | S&P Trap Combination 40mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PLB-008 | Four Way Riser 100 x 50 x 50 x 50 x 40mm | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PRS-015 | Dome Grate with Collar 100mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PRS-010 | PVC Pan Collar 100mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-GRA-003 | PVC Floor Grate 65mm | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-SAC-005 | Saddle Clip 100mm | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-SAC-004 | Saddle Clip 65mm | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-DEK-001 | Dektite Rubber Seal 65mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-GLU-001 | PVC Glue 500ml | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PVG-002 | PVC Priming Fluid 500ml | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-HAC-002 | Hanging Clip 100mm | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-HAC-003 | Hanging Clip 65mm | each | 6 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-HAC-001 | Hanging Clip 50mm | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-HAC-004 | Hanging Clip 40mm | each | 6 |  |  | High | Approved BOQ | Baseline standard-house quantity
50139-CRI-001 | Crimper | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50118 - INSULATION
50118-BLW-002 | Wall ¦ Multi purpose Sisalation to AS4200.1,1.35x60m roll | roll | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50118-BLW-002 | Roof ¦ Multi purpose Sisalation to AS4200.1,1.35x60m roll | roll | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-WMR-001 | Mesh Chicken Wire - 50x1x1.8x50 | roll | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50118-BLW-005 | Sisalation Tape - 50m | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50118-MAL-001 | Malthoid damp proof membrane 90mmx20m | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-019 | Fixing ¦ 10g-14 x 16mm, WAFER, SQUARE, Self-Tapping AS3566 Class 3 | each | 500 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119 - ELECTRICAL SERVICES - CABLES & CONDUITS
50119-FLF-005 | 18W LED Oyster Type/Round Light Fitting, 6500K White | pcs | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-FLF-008 | 12W LED Oyster Type/Round Light Fitting, 6500K White | pcs | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-FLF-009 | 12W LED Oyster Type/Round Light Fitting, Weatherproof, 6500K White | pcs | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-FLF-010 | 10W LED Floodlight, weatherproof, 6500K White | pcs | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-FAN-001 | 1200mm dia. Ceiling fans with regulator & fixings/fanhooks | sets | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-EXH-002 | Wall Mount Exhaust Fan, 150mmdia. | pcs | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-LIS-002 | Light switch 1-gang | pcs | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-LIS-001 | Light switch 2-gang | pcs | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-ELC-023 | Switch Weather Proof | pcs | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-GPO-002 | Double GPO, 10A | pcs | 9 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-GPO-001 | Single GPO, 10A | pcs | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-GPO-005 | Double GPO, 10A, Weatherproof | pc | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-GPO-004 | Single GPO, 10A, Weatherproof | pc | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-NPO-007 | Load Centre 12Pole, PVC, surface mount | pc | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-MCB-001 | MCB, 63A, 1P | pcs | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-RCB-002 | RCBO, 10A, 30mA, 1P, load centre type, compact/slim | pcs | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-RCB-001 | RCBO, 16A, 30mA, 1P, load centre type, compact/slim | pcs | 6 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-CAB-032 | 16mm2 2C + E PVC/PVC TPS Flat Cable | meters | 30 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-CAB-035 | 16mm2 2C PVC/PVC TPS Flat Cable | meters | 20 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-CAB-012 | 6mm2 Building Wire Green/Yellow | meters | 10 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-CAB-005 | 2.5mm2 2C + E pvc/pvc TPS | meters | 100 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-CAB-006 | 1.5mm2 2C + E pvc/pvc TPS | meters | 150 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-CAB-008 | 1.5mm2 Twin Active/Switch Cable, pvc/pvc, TPS | meters | 30 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-CAB-007 | 1.5mm2 Twin Active + E /Fan Cable, pvc/pvc, TPS | meters | 50 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-CON-003 | Conduit 32mmdia x 4meters, LD, grey | lengths | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-CON-005 | Conduit 25mmdia x 4meters, LD, grey | lengths | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-COU-002 | Coupling 25mm | pc | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-COU-001 | Coupling 32mm | pc | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-PVA-002 | PVC adaptor with lockring 32mmdia | pcs | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-PVA-003 | PVC adaptor with lockring 25mmdia | pcs | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-PDE-001 | Dead End | pcs | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-SAD-002 | Saddles, pvc, 32mm | pcs | 6 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-SAD-003 | Saddles, pvc, 25mm | pcs | 6 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-GMB-001 | Galvanized Meter Box 300 x 300 x 250mm | pc | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-WEA-004 | Mains Entry Box, 1-phase, 16mm2 max. | pc | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-ELC-010 | Earth Stake with earth clamp, 13mm dia. | pc | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-CSW-001 | Coach Screw, 10mmdia x 60mm for mounting ceiling fans | pcs | 10 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-ELC-012 | Single Screw Connectors | pcs | 45 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-ELC-008 | Insulation Tape, (Red) | rolls | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-ELC-006 | Insulation Tape, (Black) | rolls | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-ELC-007 | Insulation Tape, (Yellow/Green) | roll | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-BRA-002 | Wall Brackets, Full, Metal | pcs | 28 |  |  | High | Approved BOQ | Derived from approved BOQ formula =SUM(C234,C236:C242)
50111-SCC-020 | Self Drilling, Tapping Metal Screws, Wafer Head 8G x 40mm | each | 200 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-018 | Self Drilling, Tapping Metal Screws, Wafer Head 8G x 16mm | each | 200 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-GRO-001 | Accessories ¦ Grommet 35mm Dia | pcs | 75 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-ELC-015 | Smoke Detector Mains Powered (240Vac) with 9Vdc back-up | pcs | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-FEX-001 | Fire Extinguisher - 4.5kg Dry Powder | pcs | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-FBL-001 | Fire Blanket | pcs | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124 - STAIRS, RAMPS, & BALUSTRADES
50107-GAP-002 | 40mm OD Galvanised Pipe x 5800mm | len | 10 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-BAL-001 | No Slope Balustrade Panel 695 x 4000mm, 12mm Round Bars | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-BAL-002 | 37 Degree Slope Balustrade Panel 503 x 4000mm, 12mm Round Bars | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-CLA-004 | Base Flange Type C, Part No. 131 | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-CLA-005 | Railing Base Flange Type C, Part No. 132 | each | 13 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-CLA-018 | Double Sided Fixing Bracket Type C, Part No. 198 | each | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-CLA-002 | Two Socket Cross Type C, Part No. 119 | each | 8 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-CLA-001 | Reducing Short Tee Type C, Part No. 101 | each | 12 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-CLA-023 | Variable Elbow Type , Part No. DDA-5 | each | 6 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-CLA-019 | 40 Diameter x 90 Degree Elbow, Part No. DDA-1 | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-CLA-025 | Adjustable Tee 30-60 Degree Type C, Part No. 129 | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-CLA-016 | Single Swivel Type C, Part No. 173 | each | 8 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-CLA-022 | Single Male Swivel Handrail Saddle, Type C, Part No. DDA-4 | each | 30 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-CLA-014 | Single Sided Mesh Panel Type C, Part No. 170 | each | 30 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-CLA-009 | Internal Joint Type C, Part No. 150 | each | 16 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-CLA-006 | Plastic End Cap Type C 133 | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-STR-001 | Stair Stringer STR-1 - Prefabricated Complete Set (L/R) 5 RISER | Pair | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50124-STR-002 | Stair Stringer STR-2 - Prefabricated Complete Set (L/R) 9 RISER | Pair | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-DYN-012 | M12 x 75mm Galvanised Dyna Bolts | each | 8 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-BOL-005 | M12 x 40mm Hex Head Galv. Bolts with Nuts & Washers | each | 42 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-BOL-002 | Fixing ¦ M8 x 60 Cup Head Bolt and Nut Grade 4.6 GALV. | each | 42 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-BOL-003 | Fixing ¦ M8 x 19 X 1.6mm (1/4") Flat Washer GALV. | each | 42 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-SHS-003 | Steel Post ¦ 75 x 4mm SHS, Q345, HDG600, 2.5m | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-PIH-00A | PH (Corner) ¦ PHA Bracket, Q340, HDG | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-ANC-002 | HDG Support Angle VA2 ¦ 75 x 75 x 6mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-FCP-00C | 1100 x 1100 1.8kpa Floor Panel | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Floor Bearer 1100mm, 1.8Kpa | pair | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
| C150 Floor Joist, 970mm | len | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50106-STT-003 | Step Treads ¦ Hardwood 125mm x 50mm, 1200mm | each | 28 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129 - FURNITURE FITTINGS & EQUIPMENT (FFE)
50129-WCP-005 | FFE ¦ Toilet Suite P-Trap - Water Closet Toilet Pan, complete with cistern, toilet seat, & connectors. | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-PAP-001 | FFE ¦ Toilet Roll Holder, Chrome Finish 185 x 95.5mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-MIR-005 | FFE ¦ Bathroom Mirror, Everton Polished, Flat Edge Mirror, 600 x 900mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-VAN-001 | FFE ¦ Vanity Basin with one tapholes and 650mm cabinet stand | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-TSV-002 | FFE ¦ Hand Basin Taps | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-SOA-001 | FFE ¦ Soap holder | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-TSK-001 | FFE ¦ Kitchen Tap | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-KSS-002 | FFE ¦ Kitchen Sink, 1000 x 500 x 200mm w/ plug & Waste | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-SHW-001 | FFE ¦ Shower Tray 900 x 900 w/ drain plug | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-SHC-002 | FFE ¦ Shower Curtain Rail | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-TSS-002 | FFE ¦ Shower Tap & Rose Set hot & cold | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-RAI-001 | FFE ¦ Towel Rail | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
FFE ¦ Kitchen and Cupboards ¦ Kitchen Cabinets & Drawers
50129-JOI-011 | Base Cabinet ¦ 900mm Wx 561mmD x 720mmH | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-JOI-011 | Base Cabinet ¦ 450mm Wx 561mmD x 720mmH | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-JOI-011 | Base Cabinet ¦ 250mm Wx 561mmD x 720mmH | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-JOI-012 | Drawer Cabinet ¦ 450mm Wx 561mmD x 720mmH | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-JOI-013 | Corner Base Cabinet ¦ 900x 900mm Wx 561mmD x 720mmH | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-JOI-014 | Wall Cabinet ¦ 450mm Wx 299mmD x 720mmH | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-JOI-005 | Rangehood Wall Cabinet ¦ 600mmW x 299mmD x 460mmH | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-BEN-001 | Bamboo Bench Top ¦ 2100mm Wx 620mmD x 25mm thk | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-BEN-002 | Bamboo Bench Top ¦ 1208mm Wx 620mmD x 25mm thk | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-BEN-003 | Bamboo Bench Top ¦ 920mm Wx 620mmD x 25mm thk | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
Ground Level Laundry
50106-WPD-001 | Timber Skirting ¦ 25 x 75 x 2400mm Timber | len | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50106-WPD-001 | Timber Architrave ¦ 12 x 75 x 2400mm Timber | len | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50106-WPD-001 | Timber Skirting ¦ 25 x 75 x 2400mm Timber | len | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50106-WPD-003 | Timber Cornice ¦ 25 x 25 x 2400mm Timber Cornice | len | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-013 | Fixing ¦ 8G - 10 x 50 Countersunk DP self drilling screw | each | 100 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-FRA-001 | Framecad Ground Floor Wall ¦ LGS C89, 0.75BMT, G550, Z275, meter rate | m | 135 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-BAT-001 | Ceiling Batten ¦ 20mm Top Hat, G350, Z275 5800mm | len | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-002 | Fixing ¦ 12G - 14 x 20mm, HEX Head, DP | each | 200 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-005 | Fixing ¦ 10G - 18 x 19mm Flat Head, DP self drilling screw | each | 500 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-BOL-007 | Fixing ¦ M12 x 75mm Sleeve Anchors, HEX Head, Galvanised | each | 10 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-RCL-006 | External Cladding ¦ Panel Rib 0.42 BMT, 2750mm - 850mm | len | 14 |  |  | High | Approved BOQ | Baseline standard-house quantity
50113-WCC-001 | Corner Flashing, 2750mm | len | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-006 | Fixing ¦ 10G - 16 x 25mm HEX Head, DP, Neo C3 Washer Rubber | each | 200 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-DHC-003 | Door ¦ 2040 x 820 x 35mm, HOLLOW CORE | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-DJA-006 | Door Frame ¦Timber Door Frames 2100mmH x 900mmW | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-HIN-001 | Hinges ¦ Hinge; Fixed Pin 100 x 75 x 2.5mm | each | 3 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-DST-003 | Door Stop ¦ Rubber Door Stopper (A-290 Half Moon) | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-ENS-001 | Door Lock ¦ Door Entrance Set | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-WFR-025 | Timber Window - B ¦ 800 x 620mm complete with louver frames, blades & security bars w/ Fly Screen | set | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Timber Frame Window ¦ 800 x 620mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Window Strips ¦ 12 x 38 x 2400mm Timber | len | 2 |  |  | High | Approved BOQ | Derived from approved BOQ formula =ROUNDUP((C352*0.8*2+C352*0.62*2)/2.4,0)
| 16Ø x 6M Plain Round bar, Galvanized | len | 1 |  |  | High | Approved BOQ | Derived from approved BOQ formula =ROUNDUP(0.7*6*C352/6,0)
| Fly Screen | m2 | 1 |  |  | High | Approved BOQ | Derived from approved BOQ formula =ROUNDUP(0.8*0.7*C352,0)
| 150mm x 505mm x 6mm thk Frosted Louvre Glass | each | 5 |  |  | High | Approved BOQ | Derived from approved BOQ formula =C352*5*1
| Louver Frame, 5blades | pairs | 1 |  |  | High | Approved BOQ | Derived from approved BOQ formula =C352
50114-WLV-004 | Flashing ¦ Window Head Flashing, 800mm | len | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-WLV-004 | Flashing ¦ Window Head Flashing, 950mm | len | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50114-WLV-004 | Flashing ¦ Window Sill Flashing, 800mm | len | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Flashing ¦ Door Head Flashing, 1000mm | len | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
| Flashing ¦ Door Side Flashing, 2200mm | len | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-008 | Fixing ¦ 10G - 24 x 40mm Countersunk, DP self drilling screw | each | 20 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-FCS-001 | FC Sheet Wall ¦ 6mm thk, 1200 x 2700 Sheet, AS2908.2 | each | 10 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-FCS-002 | FC Sheet Ceiling ¦ 6mm thk, 1200 x 2400 Sheet, AS2908.2 | each | 6 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-HMJ-003 | Internal lining Accessory ¦ PVC H Joiner 6mm, 2400mm | len | 12 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-HMJ-004 | Internal lining Accessory ¦ PVC H Joiner 6mm, 2700mm | len | 15 |  |  | High | Approved BOQ | Baseline standard-house quantity
50115-HMJ-006 | 6.0mm x 2700mm PVC Internal Capping, corner | len | 4 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-SCI-001 | PEX Straight Coupling Inline 16mm x 16mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-SCI-002 | PEX Straight Coupling Inline 25mm x 25mm | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-RCC-002 | PEX Reducing Coupling 25 x 16mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-MSC-005 | PEX Straight Connector Male Thread Fixed Adaptor 16 x 1/2" MI | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-MSC-007 | PEX Straight Connector Male Thread Fixed Adaptor 25 x 1" MI | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-EEP-001 | Equal PEX Elbow 15 x 15mm | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-EEP-002 | Equal PEX Elbow 25 x 25mm | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-WBE-001 | PEX Winged Back Elbow Male Thread Ext 65mm 15 x 1/2" x 65mm MI | each | 2 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PTP-002 | PEX T-Piece Reduced Centre 25 x 16 x 25mm | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-BLA-001 | Laundry Assembly 8" Right Angle | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PPX-001 | PEX Pipe 16mm | m | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-PPX-002 | PEX Pipe 25mm | m | 10 |  |  | High | Approved BOQ | Baseline standard-house quantity
50112-DWP-002 | PVC Pipe 50mm x 5800mm | len | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50125-SHO-001 | PVC Plain Bend 50mm x 45degree | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-FLF-008 | 18W LED Oyster Type/Round Light Fitting, 6500K White | pcs | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-LIS-002 | light switch 1-gang | pcs | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-RCB-002 | RCBO, 10A, 30mA, 1P, load centre type, compact/slim | pcs | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-RCB-001 | RCBO, 16A, 30mA, 1P, load centre type, compact/slim | pcs | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-CAB-032 | 16mm2 2C + E PVC/PVC TPS Flat Cable | meters | 5 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-CAB-005 | 2.5mm2 2C + E pvc/pvc TPS | meters | 20 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-CAB-006 | 1.5mm2 2C + E pvc/pvc TPS | meters | 20 |  |  | High | Approved BOQ | Baseline standard-house quantity
50119-CAB-008 | 1.5mm2 Twin Active/Switch Cable, pvc/pvc, TPS | meters | 10 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-020 | Self Drilling, Tapping Metal Screws, Wafer Head 8G x 40mm | each | 20 |  |  | High | Approved BOQ | Baseline standard-house quantity
50111-SCC-018 | Self Drilling, Tapping Metal Screws, Wafer Head 8G x 16mm | each | 20 |  |  | High | Approved BOQ | Baseline standard-house quantity
50107-GRO-001 | Accessories ¦ Grommet 35mm Dia | pcs | 10 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-KSS-007 | FFE ¦ Single Laundry Sink-w/ plug & Waste | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-TSL-001 | FFE ¦ Laundry tap mixer | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
50129-TSL-002 | FFE ¦Washing Machine Tap | each | 1 |  |  | High | Approved BOQ | Baseline standard-house quantity
TOTAL SUPPLY COST (PGK) | [7 empty] | Add rate library in col E to activate total

## Standard Geometry
STANDARD GEOMETRY — G303 WITH LAUNDRY (HIGHSET)
Baseline geometry populated from the approved G303 with Laundry architectural and structural sets. Review only if the standard design changes.
Element | Description | Value | Unit | Notes | Source
OVERALL BUILDING
Total Floor Area | GFA including verandah | 86.4 | m² | From 12.00m x 7.20m standard title / overall plan | Approved BOQ / A-002
Internal Floor Area | Habitable area only | 64.8 | m² | Approx internal first-floor enclosed area (9.0m x 7.2m) | A-002 First Floor Plan
Verandah Area | External deck / verandah | 21.6 | m² | Verandah/deck area approx. 3.0m x 7.2m | A-002 First Floor Plan
Building Length | Overall building length | 12 | m | Overall length from standard title | Approved BOQ title
Building Width | Overall building width | 7.2 | m | Overall width from standard title | Approved BOQ title
Floor Height | Floor level above ground | 2590 | mm | Finished floor level above ground line | A-005 Section A
Wall Height | Internal wall height | 2400 | mm | Typical internal wall height used for lining rules | Standard detail / verify if changed
Roof Pitch | Main roof pitch | 18 | ° | Main roof pitch | A-003 Roof Plan / S-005 Roof Framing
ROOMS
Bedroom 1 | Master bedroom floor area | 8.9 | m² | Approx from plan chain dimensions | A-002 First Floor Plan
Bedroom 2 | Bedroom 2 floor area | 8.1 | m² | Approx from plan chain dimensions | A-002 First Floor Plan
Bedroom 3 | Bedroom 3 floor area | 7.5 | m² | Approx from plan chain dimensions | A-002 First Floor Plan
Bathroom | Bathroom floor area | 5.8 | m² | Bathroom plan approx. 1.95m x 2.99m | A-007 Bathroom Plan
Toilet | Toilet / WC floor area | 0 | m² | No separate WC room in this standard model | A-002 First Floor Plan
Kitchen | Kitchen floor area | 8.5 | m² | Kitchen zone allowance from plan | A-002 / A-008
Living / Dining | Living + dining combined area | 18 | m² | Living room zone allowance from plan | A-002 First Floor Plan
Laundry | Laundry floor area | 2.9 | m² | Ground laundry approx. 1.70m x 1.68m | A-007 Laundry Plan / A-001 Ground Floor
Storage | Storage room floor area | 0 | m² | No separate store in standard model | A-002 First Floor Plan
Corridor / Hallway | Circulation area | 5.1 | m² | Circulation / corridor allowance | A-002 First Floor Plan
WALLS
Total External Wall Length | Perimeter of external walls | 32.4 | lm | Approx enclosed first-floor wall perimeter only | A-002 / S-004
Total Internal Wall Length | All internal partition walls | 26 | lm | Approx internal partitions for standard layout | A-002 / S-004
External Wall Area | Total external wall face area | 77.8 | m² | External wall area based on 32.4lm x 2.4m wall height | Calculated
Internal Wall Area | Total internal lining area | 124.8 | m² | Internal wall area based on 26.0lm x 2 faces x 2.4m | Calculated
Wet Area Wall Area | Tiled wall area (bath/shower) | 11 | m² | Bathroom shower + splash zones allowance | A-007 / detail rules
ROOF
Roof Plan Area | Roof footprint (plan view) | 86.4 | m² | Roof footprint approx equal to building footprint | A-003 Roof Plan
Roof Surface Area | Actual sloped roof area | 90.8 | m² | Roof footprint adjusted for 18° pitch | Calculated
Ridge Length | Total ridge cap length | 9 | lm | Main ridge length allowance | A-003 Roof Plan
Barge Length | Total barge capping length | 15.2 | lm | Two gable ends at 18° pitch over 7.2m span | Calculated
Gutter Length | Total gutter run | 24 | lm | Approx front + rear gutter runs | A-003 Roof Plan
Fascia Length | Total fascia length | 24 | lm | Approx fascia to guttered eaves | A-003 / A-011
No. of Downpipes | Number of downpipe locations | 5 | each | From approved roof plumbing count | Approved BOQ
DOORS & WINDOWS
Door A count | Solid core door 2040x920mm | 1 | each | Solid core door 2040x920 | A-013 Door Schedule / approved BOQ
Door B count | Hollow core door 2040x820mm | 4 | each | Hollow core door 2040x820 incl laundry door | A-013 Door Schedule / approved BOQ
Door C count | Hollow core door 2040x720mm | 1 | each | Hollow core door 2040x720 | A-013 Door Schedule / approved BOQ
Door C Hollow count | Solid core door 2040x820mm | 0 | each | No additional solid-core 820 door in standard set | Approved BOQ
Door D count | Additional non-standard door type | 0 | each | No additional alternate door type in standard set | Approved BOQ
Window A count | Timber louvre window 1080x1200mm | 8 | each | Timber louvre window 1080x1200 | A-014 Window Schedule / approved BOQ
Window B count | Timber louvre window 800x620mm | 2 | each | Timber louvre window 800x620 incl laundry | A-014 Window Schedule / approved BOQ
Window C count | Timber louvre window 1200x1080mm | 0 | each | No separate 1200x1080 window type in this standard set | Approved BOQ
Window D count | Timber louvre window 1850x1200mm | 1 | each | Timber louvre window 1850x1200 | A-014 Window Schedule / approved BOQ
STRUCTURE
No. of Piers / Posts | Total column / post count | 15 | each | Pier heads / post locations from footing plan | S-001 Footing Layout / approved BOQ
No. of Stair Flights | External stair flights | 2 | each | Two stair flights with mid-landing | S-015 Stair Details
No. of Stair Steps | Total steps all flights | 14 | each | 5 riser + 9 riser stair set in approved BOQ | S-015 / approved BOQ
Balustrade Length | Total balustrade run | 24 | lm | Approx total balustrade run from 4 no-slope + 2 slope panels | S-016 to S-018 / approved BOQ
Floor Panel Count | Total floor panel units | 12 | each | 9 standard + 2 verandah + 1 landing panel | S-002 / approved BOQ

## Rules Library
RULES LIBRARY — G303 WITH LAUNDRY Scaling Rules
Rules revised from the approved G303 with Laundry architectural + structural details. Use BOM / approved BOQ where noted.
Rule ID | Item (Dependent) | Driven By (Bulk Item) | Formula / Rule | Unit | Example | Notes / Source
ROOF RULES
R-001 | Roof Battens (41mm Top Hat) | Roof Surface Area (m²) | Roof Area ÷ 0.8m spacing | len | 80m² ÷ 0.8 = 100 lm | A-011/A-012 show 40mm battens at 800mm spacing
R-002 | Roof Sarking / Sisalation — Roof | Roof Surface Area (m²) | Roof Area ÷ 73m² effective / roll | rolls | 90m² → 2 rolls | 1.35x60m roll less laps/overlaps
R-003 | Chicken Wire Mesh | Roof Surface Area (m²) | Roof Area ÷ roll coverage | rolls |  | Check roll size
R-004 | Bird Proofing Foam | Ridge + Barge Length (lm) | Ridge Length + Barge Length | lm | 9 + 15.2 = 24.2lm | Run full ridge and verge edges
R-005 | Ridge Cap | Ridge Length (lm) | RoundUp(Ridge Length ÷ 5.8m) | len | 9lm ÷ 5.8 = 2 lengths | Use standard 5800mm stock length
R-006 | Barge Cap | Barge Length (lm) | RoundUp(Barge Length ÷ 5.8m) | len | 15.2lm ÷ 5.8 = 3 lengths | Use standard 5800mm stock length
R-007 | Roof Screws SC-06 / SC-01 family | Roof Sheet count | Sheets × screw rate per support line | each | 38 sheets x allowance | Check exact screw family against cladding / flashing detail
R-008 | Gutter Hangers | Gutter Length (lm) | 1 hanger per 1.0m | each | 20lm → 20 hangers
R-009 | Fascia Clips | Fascia Length (lm) | 1 clip per 600mm | each | 20lm → 34 clips
CEILING RULES
R-010 | Ceiling Battens (20mm Top Hat) | Ceiling Area (m²) | Ceiling Area ÷ 0.4m spacing + edge allowance | len | 65m² ÷ 0.4 ≈ 163lm | Validate against actual ceiling zones incl ground laundry
R-011 | FC Sheet Ceiling 6mm | Ceiling Area (m²) | RoundUp((Ceiling Area ÷ 2.88) × 1.10) | each | 65m² → 25 sheets | 1.2x2.4 sheet with 10% waste
R-012 | Ceiling Lining Screws SC-10 | FC Sheet Ceiling count | FC Sheets × 20 screws | each |  | 200mm spacing
WALL RULES
R-013 | FC Sheet Wall 6mm | Internal Wall Area (m²) | RoundUp((Wall Area ÷ 3.24) × 1.10) | each | 125m² → 43 sheets | Internal wall lining only; ext cladding is weatherboard/panel rib
R-014 | Wall Sisalation (Building Wrap) | External Wall Area (m²) | External Wall Area ÷ 73m² effective / roll | rolls | 78m² → 2 rolls | 1.35x60m roll less overlap
R-015 | Stud Adhesive | FC Sheet Wall count | 1 tube per 5 sheets | each | 69 sheets → 14 tubes
R-016 | PVC H Joiners | FC Sheet Wall count | FC Sheets × 0.5 | len |  | Approx 1 joiner per 2 sheets
R-017 | Wall Screws SC-06 | FC Sheet Wall count | FC Sheets × 18 screws | each | 43 sheets → 774 screws | Verify if liquid nail + screws both required
R-018 | External Cladding Weatherboard | External Wall Area (m²) | Wall Area ÷ (0.19m cover × 4.2m length) | len |  | 190mm effective cover
R-019 | Weatherboard Stud Clips | Weatherboard count | 1 clip per stud per board = boards × studs | each |  | Studs at 600mm spacing
FLOOR RULES
R-020 | FC Sheet Floor 18mm | Floor Area (m²) | RoundUp((Floor Area ÷ 2.88) × 1.05) | each | 65m² → 24 sheets | 18mm FC floor sheet over sub-floor
R-021 | Vinyl Floor Plank | Vinyl Floor Area (m²) | Vinyl Area × 1.10 | m² | 59m² → 65m² order qty | Exclude tile/deck areas
R-022 | Ceramic Floor Tiles | Tile Floor Area (m²) | Tile Area × 1.10 | m² | 9m² → 9.9m² order qty | Bathroom + laundry tile zones only
R-023 | Tile Adhesive | Tile Area (m²) | 1 bag per 4m² | each | 40m² → 10 bags | 20kg bag coverage
R-024 | Tile Grout | Tile Area (m²) | 1 bag per 5m² | each |  | Adjust for grout joint size
R-025 | Tile Spacers 4mm | Tile Area (m²) | 1 packet per 10m² | pkt
R-026 | Vinyl Plank Adhesive | Vinyl Floor Area (m²) | 1 tin per 15m² | each |  | 15L tin
R-027 | Waterproofing Membrane | Wet Area Floor + Shower Wall (m²) | 1 bucket per 10m² equivalent area | bucket | 16m² → 2 buckets | Account for floor + shower wall coverage
STRUCTURAL / FIXING RULES
R-028 | Framecad Wall (lm) | Approved standard wall baseline / delta | Use approved baseline 753lm; adjust only changed walls | lm | 753lm baseline | Approved BOQ overrides generic area formula
R-029 | Framecad Roof Truss (lm) | Approved standard roof baseline / BOM | Use approved baseline 490lm unless BOM differs | lm | 490lm baseline | BOM / approved BOQ = high confidence
R-030 | Structural Screws SC-02 | Framecad Wall lm | Wall lm × 8 screws/m | each |  | Approximate
R-031 | Structural Screws SC-04 | Framecad Wall lm | Wall lm × 4 screws/m | each
R-032 | Triple Grips (L+R) | Roof Truss count | 2 per truss (1L + 1R) | each
R-033 | Floor Panel count | Floor panel layout / BOM | Use approved baseline 12 panels; update by panel schedule | panels | 9 + 2 + 1 baseline | BOM overrides all
PAINT RULES
R-034 | Internal Wall Paint (VinylGlow) | Internal Wall Area (m²) | Wall Area ÷ 12m²/L × 2 coats ÷ 15L/bucket | bucket |  | KCC coverage rate 12m²/L
R-035 | Ceiling Paint (Aurora Matt) | Ceiling Area (m²) | Ceiling Area ÷ 12m²/L × 2 coats ÷ 15L | bucket
R-036 | External Wall Paint (Weatherforce) | External Wall Area (m²) | Wall Area ÷ 10m²/L × 2 coats ÷ 18L | bucket |  | 18L bucket
R-037 | Sealer — Internal | Internal Wall + Ceiling (m²) | Area ÷ 10m²/L ÷ 18L/bucket | bucket |  | 1 coat sealer
R-038 | Sealer — External | External Wall Area (m²) | Area ÷ 10m²/L ÷ 18L/bucket | bucket

## Instructions
HOW TO USE THIS STANDARD MODEL
SHEET | WHAT TO DO | WHO / WHEN
Standard BOQ | Fill in the QTY column for every item based on your approved G303 BOQ. Fill RATE from your rate library. This becomes the baseline for ALL future estimates. | You — do this first
Standard BOQ | Leave QTY = 0 only if the item genuinely does not apply to the standard house. The system will treat 0 as 'not in standard design'. | You — be precise
Standard Geometry | Fill in every measurement for the standard G303 house. These are the dimensions the AI will compare new projects against to detect changes. | You — measure from drawings
Standard Geometry | Update this sheet whenever the standard design changes (e.g. standard floor height increased). All future estimates will use the new values automatically. | You — keep current
Rules Library | Review every rule. Update the formula column if your actual construction method differs (e.g. if you use 800mm batten spacing not 900mm, change R-001). | You — verify each rule
Rules Library | Add new rules at the bottom of each section for any item not covered. Format: Rule ID, what item is scaled, what drives it, the formula. | You — add as needed
──────────────────────────────────────────────────────
IMPORTANT | BLUE cells = values you must enter. Do not leave them blank.
IMPORTANT | This file is the foundation of the entire system. Time invested here saves hours on every future estimate.
IMPORTANT | Save this file as: standard_model_G303.xlsx in your C:\Users\User\Desktop\DDC\ folder.
IMPORTANT | When you update the standard BOQ rates — update the RATE LIBRARY separately too. Keep them in sync.
──────────────────────────────────────────────────────
NEXT STEP | Once all blue cells are filled: share this file and proceed to Step 2 — Rate Library preparation.

## Structural Baseline
Package | Component | Standard Qty | Unit | Source | Notes
Primary frame | Framecad wall meter rate | 753 | lm | Approved BOQ / S-004 | Use approved baseline unless structural delta detected
Roof frame | Framecad truss meter rate | 490 | lm | Approved BOQ / S-005 | Prefer BOM / approved BOQ over AI inference
Floor panels | 1.8kPa floor panel 2398x2998 | 9 | set | Approved BOQ / S-002 | Main floor panels
Floor panels | 4kPa floor panel 2398x2998 | 2 | set | Approved BOQ / S-002 | Verandah floor panels
Floor panels | Landing panel 1100x1100 1.8kPa | 1 | each | Approved BOQ / S-015 | Mid-landing panel
Floor members | Floor bearer 2998 for 1.8kPa panels | 9 | pair | Approved BOQ | Derived 1 per standard panel
Floor members | Floor joist C150 2268 for 1.8kPa panels | 81 | len | Approved BOQ | 9 joists per 1.8kPa panel set
Floor members | Floor bearer 2998 for 4kPa panels | 2 | pair | Approved BOQ | Derived 1 per verandah panel
Floor members | Floor joist C150 2268 for 4kPa panels | 22 | len | Approved BOQ | 11 joists per 4kPa panel set
Posts | Steel post 75x4 SHS 3.6m | 15 | len | Approved BOQ / S-001 | Primary post lengths
Posts | Steel post 75x4 SHS 5.8m | 3 | len | Approved BOQ / S-015 | Stair / special posts
Pier heads | PHA corner bracket | 4 | each | Approved BOQ / S-001 | Corner pier heads
Pier heads | PHB central bracket | 4 | each | Approved BOQ / S-001 | Central pier heads
Pier heads | PHD perimeter bracket | 7 | each | Approved BOQ / S-001 | Perimeter pier heads
Bracing | DB angle bracing 40x40x3 3500mm | 12 | len | Approved BOQ / S-008 | Column bracing
Roof bracing | 32x0.95 strap bracing | 90 | lm | Approved BOQ / S-005 | Gal roof strap bracing
Roof battens | 41mm top hat 5800 main roof | 48 | len | Approved BOQ / A-011 | Main roof battens
Roof battens | 41mm top hat 5800 verandah/soffit | 36 | len | Approved BOQ / A-011 to A-012 | Verandah ceiling & soffit battens
Ceiling battens | 20mm top hat 5800 | 42 | len | Approved BOQ | 38 first floor + 4 ground laundry
Stairs | Stringer set STR-1 5 riser | 1 | pair | Approved BOQ / S-015 | Lower stair flight
Stairs | Stringer set STR-2 9 riser | 1 | pair | Approved BOQ / S-015 | Upper stair flight
Stairs | Hardwood step treads 1200mm | 28 | each | Approved BOQ / S-015 | 2 treads per stair step across both stringers
Balustrade | No-slope balustrade panel 695x4000 | 4 | each | Approved BOQ / S-016 to S-018 | Landing/verandah runs
Balustrade | 37 degree slope balustrade panel 503x4000 | 2 | each | Approved BOQ / S-016 to S-018 | Stair runs

## Dependency Map
Trigger / Design Change | Affected BOQ Group | Rule Logic | Primary Source | Confidence | Review Note
Roof area or roof geometry changes | Roof cladding, roof battens, sarking, ridge/barge, roof screws | Recalculate roof zones; do not inherit standard roof package blindly | A-003 / S-005 | High | Review battens + ridge + barge together
Ceiling area changes | Ceiling battens, ceiling FC sheets, cornice, ceiling paint | Scale from measured ceiling area and room changes | A-002 / A-011 | Medium | Confirm any bulkhead or verandah ceiling zones
External wall area changes | Weatherboard cladding, building wrap, corner flashings, cladding screws | Scale from external wall area and wall type | A-004 / A-016 | Medium | Check whether verandah/laundry cladding is included
Internal wall layout changes | Framecad wall lm, FC sheet wall lining, paint, skirting/architrave | Use structural wall plan first, then update lining/paint dependencies | S-004 / A-002 | High | Critical for non-standard client layout changes
Wet-area layout changes | Floor tiles, wall tiles, waterproofing, FC wet-area lining, tile adhesive/grout | Recalculate bathroom/laundry zones only | A-007 / A-017 | High | Do not use gross floor area for wet areas
Door count/type changes | Door slabs, frames, hinges, locks, stops, flashings, architraves | Count from schedule, then update hardware set by door type | A-013 / approved BOQ | High | Include laundry door in this model
Window count/type changes | Complete windows, flashes, flyscreen, louvre blades, security bars | Count from schedule, then scale components by window family | A-014 / approved BOQ | High | Window family mapping is critical
Floor height changes | Post lengths, stair stringers, risers, balustrade, cladding drop | Use structural/section delta vs standard 2590 FFL | S-001 / S-015 / A-005 | High | This is one of the highest-risk variations
Floor panel layout changes | Panels, bearers, joists, brackets, anchors, screws | Read BOM or structural panel layout before scaling small items | S-002 / S-010 | High | Prefer exact panel schedule over rules
Ground laundry added/removed | Ground wall frame, cladding, ceiling battens, door/window, plumbing fixtures | Treat ground laundry as separate package | A-001 / A-007 / approved BOQ | High | Do not miss laundry-specific door/window items
Verandah size changes | Decking, perimeter trims, verandah floor panels, balustrade, verandah roof tie-down | Recalculate external works/verandah package only | A-002 / S-002 / S-014 | High | Common client variation trigger
Paint spec changes | Sealer and paint buckets | Scale from wall/ceiling areas after geometry locked | Paint schedule / standard rules | Medium | Keep paint separate from base materials
Small fixing items change indirectly | Screws, clips, brackets, adhesive | Scale from parent bulk item unless exact BOM exists | Approved BOQ + rules | Low | Flag for manual review if delta >15%